## Discreto
SIGLA SINAL | NOME | INDEX DNP3 - Entrada | INDEX DNP3 - Comando | AOR
DR | SND_SLOTD_SLOTD_DR | 69 |  | Distr
DR | SND_SLOTD_SLOTD-2_DR | 161 |  | Distr
DR | SND_SLOTD_SLOTD-3_DR | 258 |  | Distr
DR | SND_SLOTD_SLOTD-4_DR | 366 |  | Distr
DR | SND_SLOTD_SLOTD-5_DR | 396 |  | Distr
86BF | SND_SLOTD_SLOTD_86BF | 397 |  | Distr
86BF | SND_SLOTD_SLOTD-2_86BF | 398 |  | Distr
79 | SND_LT67SAN_LT67SAN_79 | 4 |  | Distr
SF6 | SND_LT67SAN_LT67SAN_SF6 | 10 |  | Distr
SF6 | SND_LT67SAN_LT67SAN-2_SF6 | 11 |  | Distr
43LR | SND_LT67SAN_LT67SAN_43LR | 12 |  | Distr
MOLA | SND_LT67SAN_LT67SAN_MOLA | 13 |  | Distr
TRIP | SND_LT67SAN_LT67SAN_TRIP | 14 |  | Distr
NORMAL | SND_LT67SAN_LT67SAN_NORMAL | 21 |  | Distr
60FF | SND_LT67SAN_LT67SAN_60FF | 26 |  | Distr
43TC | SND_LT67SAN_LT67SAN_43TC | 28 |  | Distr
25 | SND_LT67SAN_LT67SAN_25 | 29 |  | Distr
79 | SND_LT67SAN_LT67SAN-2_79 | 30 |  | Distr
79 | SND_LT67SAN_LT67SAN-3_79 | 31 |  | Distr
79 | SND_LT67SAN_LT67SAN-4_79 | 32 |  | Distr
25 | SND_LT67SAN_LT67SAN-2_25 | 33 |  | Distr
25 | SND_LT67SAN_LT67SAN-3_25 | 34 |  | Distr
25 | SND_LT67SAN_LT67SAN-4_25 | 37 |  | Distr
50BF | SND_LT67SAN_LT67SAN_50BF | 38 |  | Distr
67 | SND_LT67SAN_LT67SAN_67 | 46 |  | Distr
67_1 | SND_LT67SAN_LT67SAN_67_1 | 47 |  | Distr
67_2 | SND_LT67SAN_LT67SAN_67_2 | 48 |  | Distr
67N | SND_LT67SAN_LT67SAN_67N | 50 |  | Distr
67N | SND_LT67SAN_LT67SAN-2_67N | 51 |  | Distr
67_FA | SND_LT67SAN_LT67SAN_67_FA | 53 |  | Distr
67_FB | SND_LT67SAN_LT67SAN_67_FB | 54 |  | Distr
67_FC | SND_LT67SAN_LT67SAN_67_FC | 55 |  | Distr
27 | SND_LT67SAN_LT67SAN_27 | 56 |  | Distr
59 | SND_LT67SAN_LT67SAN_59 | 57 |  | Distr
50N | SND_LT67SAN_LT67SAN_50N | 60 |  | Distr
50N | SND_LT67SAN_LT67SAN-2_50N | 61 |  | Distr
67_5FA | SND_LT67SAN_LT67SAN_67_5FA | 62 |  | Distr
67_5FA | SND_LT67SAN_LT67SAN-2_67_5FA | 63 |  | Distr
67_5FA | SND_LT67SAN_LT67SAN-3_67_5FA | 64 |  | Distr
51N | SND_LT67SAN_LT67SAN_51N | 66 |  | Distr
LDF | SND_LT67SAN_LT67SAN_LDF | 67 |  | Distr
DR | SND_LT67SAN_LT67SAN_DR |  |  | Distr
86 | SND_LT87SAN_LT87SAN_86 |  |  | Distr
FA | SND_LT87SAN_LT87SAN_FA | 76 |  | Distr
FB | SND_LT87SAN_LT87SAN_FB | 77 |  | Distr
FC | SND_LT87SAN_LT87SAN_FC | 78 |  | Distr
87_5F | SND_LT87SAN_LT87SAN_87_5F | 80 |  | Distr
87_5F | SND_LT87SAN_LT87SAN-2_87_5F | 81 |  | Distr
50F | SND_LT87SAN_LT87SAN_50F | 82 |  | Distr
50N | SND_LT87SAN_LT87SAN_50N | 83 |  | Distr
51F | SND_LT87SAN_LT87SAN_51F | 84 |  | Distr
62BF | SND_LT87SAN_LT87SAN_62BF | 85 |  | Distr
NORMAL | SND_LT87SAN_LT87SAN_NORMAL |  |  | Distr
FCOM | SND_LT87SAN_LT87SAN_FCOM | 88 |  | Distr
79 | SND_LT67TPJ2_LT67TPJ2_79 | 12 |  | Distr
SF6 | SND_LT67TPJ2_LT67TPJ2_SF6 | 103 |  | Distr
SF6 | SND_LT67TPJ2_LT67TPJ2-2_SF6 | 104 |  | Distr
43LR | SND_LT67TPJ2_LT67TPJ2_43LR | 105 |  | Distr
MOLA | SND_LT67TPJ2_LT67TPJ2_MOLA | 106 |  | Distr
TRIP | SND_LT67TPJ2_LT67TPJ2_TRIP | 107 |  | Distr
89-20_DSEC | SND_LT67TPJ2_LT67TPJ2_89-20_DSEC | 112 |  | Distr
89-24_DSEC | SND_LT67TPJ2_LT67TPJ2_89-24_DSEC | 113 |  | Distr
NORMAL | SND_LT67TPJ2_LT67TPJ2_NORMAL | 114 |  | Distr
60FF | SND_LT67TPJ2_LT67TPJ2_60FF | 119 |  | Distr
LDF | SND_LT67TPJ2_LT67TPJ2_LDF | 121 |  | Distr
43TC | SND_LT67TPJ2_LT67TPJ2_43TC | 122 |  | Distr
25 | SND_LT67TPJ2_LT67TPJ2_25 | 123 |  | Distr
79 | SND_LT67TPJ2_LT67TPJ2-2_79 | 124 |  | Distr
79 | SND_LT67TPJ2_LT67TPJ2-3_79 | 125 |  | Distr
79 | SND_LT67TPJ2_LT67TPJ2-4_79 | 126 |  | Distr
25 | SND_LT67TPJ2_LT67TPJ2-2_25 | 127 |  | Distr
25 | SND_LT67TPJ2_LT67TPJ2-3_25 | 128 |  | Distr
25 | SND_LT67TPJ2_LT67TPJ2-4_25 | 131 |  | Distr
50BF | SND_LT67TPJ2_LT67TPJ2_50BF | 132 |  | Distr
67 | SND_LT67TPJ2_LT67TPJ2_67 | 139 |  | Distr
67_1 | SND_LT67TPJ2_LT67TPJ2_67_1 | 140 |  | Distr
67_2 | SND_LT67TPJ2_LT67TPJ2_67_2 | 141 |  | Distr
67N | SND_LT67TPJ2_LT67TPJ2_67N | 143 |  | Distr
67N | SND_LT67TPJ2_LT67TPJ2-2_67N | 144 |  | Distr
67_FA | SND_LT67TPJ2_LT67TPJ2_67_FA | 146 |  | Distr
67_FB | SND_LT67TPJ2_LT67TPJ2_67_FB | 147 |  | Distr
67_FC | SND_LT67TPJ2_LT67TPJ2_67_FC | 148 |  | Distr
27 | SND_LT67TPJ2_LT67TPJ2_27 | 149 |  | Distr
59 | SND_LT67TPJ2_LT67TPJ2_59 | 150 |  | Distr
50N | SND_LT67TPJ2_LT67TPJ2_50N | 153 |  | Distr
50N | SND_LT67TPJ2_LT67TPJ2-2_50N | 154 |  | Distr
67_5FA | SND_LT67TPJ2_LT67TPJ2_67_5FA | 155 |  | Distr
67_5FA | SND_LT67TPJ2_LT67TPJ2-2_67_5FA | 156 |  | Distr
67_5FA | SND_LT67TPJ2_LT67TPJ2-3_67_5FA | 157 |  | Distr
51N | SND_LT67TPJ2_LT67TPJ2_51N | 159 |  | Distr
DR | SND_LT67TPJ2_LT67TPJ2_DR |  |  | Distr
79 | SND_LT21TPJ2_LT21TPJ2_79 |  |  | Distr
SF6 | SND_LT21TPJ2_LT21TPJ2_SF6 |  |  | Distr
SF6 | SND_LT21TPJ2_LT21TPJ2-2_SF6 |  |  | Distr
43LR | SND_LT21TPJ2_LT21TPJ2_43LR |  |  | Distr
MOLA | SND_LT21TPJ2_LT21TPJ2_MOLA |  |  | Distr
TRIP | SND_LT21TPJ2_LT21TPJ2_TRIP |  |  | Distr
43TC | SND_LT21TPJ2_LT21TPJ2_43TC |  |  | Distr
25 | SND_LT21TPJ2_LT21TPJ2_25 |  |  | Distr
79 | SND_LT21TPJ2_LT21TPJ2-2_79 |  |  | Distr
79 | SND_LT21TPJ2_LT21TPJ2-3_79 |  |  | Distr
79 | SND_LT21TPJ2_LT21TPJ2-4_79 |  |  | Distr
25 | SND_LT21TPJ2_LT21TPJ2-2_25 |  |  | Distr
25 | SND_LT21TPJ2_LT21TPJ2-3_25 |  |  | Distr
25 | SND_LT21TPJ2_LT21TPJ2-4_25 |  |  | Distr
50BF | SND_LT21TPJ2_LT21TPJ2_50BF |  |  | Distr
60FF | SND_LT21TPJ2_LT21TPJ2_60FF |  |  | Distr
LDF | SND_LT21TPJ2_LT21TPJ2_LDF |  |  | Distr
NORMAL | SND_LT21TPJ2_LT21TPJ2_NORMAL |  |  | Distr
21 | SND_LT21TPJ2_LT21TPJ2_21 |  |  | Distr
21FA | SND_LT21TPJ2_LT21TPJ2_21FA |  |  | Distr
21FB | SND_LT21TPJ2_LT21TPJ2_21FB |  |  | Distr
21FC | SND_LT21TPJ2_LT21TPJ2_21FC |  |  | Distr
21N | SND_LT21TPJ2_LT21TPJ2_21N |  |  | Distr
21Z2 | SND_LT21TPJ2_LT21TPJ2_21Z2 |  |  | Distr
21Z3 | SND_LT21TPJ2_LT21TPJ2_21Z3 |  |  | Distr
21Z4 | SND_LT21TPJ2_LT21TPJ2_21Z4 |  |  | Distr
50N | SND_LT21TPJ2_LT21TPJ2_50N |  |  | Distr
50N | SND_LT21TPJ2_LT21TPJ2-2_50N |  |  | Distr
21_5FC | SND_LT21TPJ2_LT21TPJ2_21_5FC |  |  | Distr
21_5FC | SND_LT21TPJ2_LT21TPJ2-2_21_5FC |  |  | Distr
21_5FC | SND_LT21TPJ2_LT21TPJ2-3_21_5FC |  |  | Distr
51N | SND_LT21TPJ2_LT21TPJ2_51N |  |  | Distr
DR | SND_LT21TPJ2_LT21TPJ2_DR |  |  | Distr
79 | SND_TRANSFER67_TRANSFER67_79 | 19 |  | Distr
SF6 | SND_TRANSFER67_TRANSFER67_SF6 | 208 |  | Distr
SF6 | SND_TRANSFER67_TRANSFER67-2_SF6 | 209 |  | Distr
43LR | SND_TRANSFER67_TRANSFER67_43LR | 210 |  | Distr
MOLA | SND_TRANSFER67_TRANSFER67_MOLA | 211 |  | Distr
TRIP | SND_TRANSFER67_TRANSFER67_TRIP | 212 |  | Distr
86 | SND_TRANSFER67_TRANSFER67_86 |  |  | Distr
60FF | SND_TRANSFER67_TRANSFER67_60FF | 218 |  | Distr
LDF | SND_TRANSFER67_TRANSFER67_LDF | 220 |  | Distr
43TC | SND_TRANSFER67_TRANSFER67_43TC | 221 |  | Distr
25 | SND_TRANSFER67_TRANSFER67_25 | 222 |  | Distr
79 | SND_TRANSFER67_TRANSFER67-2_79 | 223 |  | Distr
79 | SND_TRANSFER67_TRANSFER67-3_79 | 224 |  | Distr
79 | SND_TRANSFER67_TRANSFER67-4_79 | 225 |  | Distr
25 | SND_TRANSFER67_TRANSFER67-2_25 | 226 |  | Distr
25 | SND_TRANSFER67_TRANSFER67-3_25 | 227 |  | Distr
25 | SND_TRANSFER67_TRANSFER67-4_25 | 230 |  | Distr
50BF | SND_TRANSFER67_TRANSFER67_50BF | 231 |  | Distr
67 | SND_TRANSFER67_TRANSFER67_67 | 236 |  | Distr
67_1 | SND_TRANSFER67_TRANSFER67_67_1 | 237 |  | Distr
67_2 | SND_TRANSFER67_TRANSFER67_67_2 | 238 |  | Distr
67N | SND_TRANSFER67_TRANSFER67_67N | 240 |  | Distr
67N | SND_TRANSFER67_TRANSFER67-2_67N | 241 |  | Distr
67_FA | SND_TRANSFER67_TRANSFER67_67_FA | 243 |  | Distr
67_FB | SND_TRANSFER67_TRANSFER67_67_FB | 244 |  | Distr
67_FC | SND_TRANSFER67_TRANSFER67_67_FC | 245 |  | Distr
27 | SND_TRANSFER67_TRANSFER67_27 | 246 |  | Distr
59 | SND_TRANSFER67_TRANSFER67_59 | 247 |  | Distr
50N | SND_TRANSFER67_TRANSFER67_50N | 250 |  | Distr
50N | SND_TRANSFER67_TRANSFER67-2_50N | 251 |  | Distr
67_5FA | SND_TRANSFER67_TRANSFER67_67_5FA | 252 |  | Distr
67_5FA | SND_TRANSFER67_TRANSFER67-2_67_5FA | 253 |  | Distr
67_5FA | SND_TRANSFER67_TRANSFER67-3_67_5FA | 254 |  | Distr
51N | SND_TRANSFER67_TRANSFER67_51N | 256 |  | Distr
DR | SND_TRANSFER67_TRANSFER67_DR |  |  | Distr
79 | SND_TRANSFER87_TRANSFER87_79 |  |  | Distr
SF6 | SND_TRANSFER87_TRANSFER87_SF6 |  |  | Distr
SF6 | SND_TRANSFER87_TRANSFER87-2_SF6 |  |  | Distr
MOLA | SND_TRANSFER87_TRANSFER87_MOLA |  |  | Distr
43LR | SND_TRANSFER87_TRANSFER87_43LR |  |  | Distr
CMD | SND_TRANSFER87_TRANSFER87_CMD |  |  | Distr
TRIP | SND_TRANSFER87_TRANSFER87_TRIP |  |  | Distr
43TC | SND_TRANSFER87_TRANSFER87_43TC |  |  | Distr
79 | SND_TRANSFER87_TRANSFER87-2_79 | 260 |  | Distr
79 | SND_TRANSFER87_TRANSFER87-3_79 |  |  | Distr
79 | SND_TRANSFER87_TRANSFER87-4_79 | 261 |  | Distr
79 | SND_TRANSFER87_TRANSFER87-5_79 | 262 |  | Distr
25 | SND_TRANSFER87_TRANSFER87_25 |  |  | Distr
25 | SND_TRANSFER87_TRANSFER87-2_25 | 263 |  | Distr
25 | SND_TRANSFER87_TRANSFER87-3_25 | 266 |  | Distr
50BF | SND_TRANSFER87_TRANSFER87_50BF | 267 |  | Distr
60FF | SND_TRANSFER87_TRANSFER87_60FF | 268 |  | Distr
LDF | SND_TRANSFER87_TRANSFER87_LDF | 269 |  | Distr
21 | SND_TRANSFER87_TRANSFER87_21 | 271 |  | Distr
21FA | SND_TRANSFER87_TRANSFER87_21FA | 272 |  | Distr
21FB | SND_TRANSFER87_TRANSFER87_21FB | 273 |  | Distr
21FC | SND_TRANSFER87_TRANSFER87_21FC | 274 |  | Distr
21N | SND_TRANSFER87_TRANSFER87_21N | 275 |  | Distr
21Z2 | SND_TRANSFER87_TRANSFER87_21Z2 | 278 |  | Distr
21Z3 | SND_TRANSFER87_TRANSFER87_21Z3 | 279 |  | Distr
21Z4 | SND_TRANSFER87_TRANSFER87_21Z4 | 280 |  | Distr
FA | SND_TRANSFER87_TRANSFER87_FA | 283 |  | Distr
FB | SND_TRANSFER87_TRANSFER87_FB | 284 |  | Distr
FC | SND_TRANSFER87_TRANSFER87_FC | 285 |  | Distr
DTT | SND_TRANSFER87_TRANSFER87_DTT | 287 |  | Distr
DTT | SND_TRANSFER87_TRANSFER87-2_DTT |  | 289 | Distr
87_5F | SND_TRANSFER87_TRANSFER87_87_5F | 294 |  | Distr
87_5F | SND_TRANSFER87_TRANSFER87-2_87_5F | 295 |  | Distr
87_5F | SND_TRANSFER87_TRANSFER87-3_87_5F | 296 |  | Distr
51N | SND_TRANSFER87_TRANSFER87_51N | 297 |  | Distr
51FN | SND_TRANSFER87_TRANSFER87_51FN | 300 |  | Distr
67N | SND_TRANSFER87_TRANSFER87_67N | 301 |  | Distr
67N | SND_TRANSFER87_TRANSFER87-2_67N | 302 |  | Distr
27 | SND_TRANSFER87_TRANSFER87_27 | 303 |  | Distr
59 | SND_TRANSFER87_TRANSFER87_59 | 304 |  | Distr
DR | SND_TRANSFER87_TRANSFER87_DR |  |  | Distr
SF6 | SND_LTCRL67_LTCRL67_SF6 | 318 |  | Distr
SF6 | SND_LTCRL67_LTCRL67-2_SF6 | 319 |  | Distr
43LR | SND_LTCRL67_LTCRL67_43LR | 320 |  | Distr
MOLA | SND_LTCRL67_LTCRL67_MOLA | 321 |  | Distr
TRIP | SND_LTCRL67_LTCRL67_TRIP | 322 |  | Distr
89-38_DSEC | SND_LTCRL67_LTCRL67_89-38_DSEC | 327 |  | Distr
89-40_SECF | SND_LTCRL67_LTCRL67_89-40_SECF | 328 |  | Distr
NORMAL | SND_LTCRL67_LTCRL67_NORMAL | 329 |  | Distr
60FF | SND_LTCRL67_LTCRL67_60FF | 334 |  | Distr
43TC | SND_LTCRL67_LTCRL67_43TC | 336 |  | Distr
50BF | SND_LTCRL67_LTCRL67_50BF | 337 |  | Distr
LDF | SND_LTCRL67_LTCRL67_LDF | 342 |  | Distr
67 | SND_LTCRL67_LTCRL67_67 | 344 |  | Distr
67_1 | SND_LTCRL67_LTCRL67_67_1 | 345 |  | Distr
67_2 | SND_LTCRL67_LTCRL67_67_2 | 346 |  | Distr
67N | SND_LTCRL67_LTCRL67_67N | 348 |  | Distr
67N | SND_LTCRL67_LTCRL67-2_67N | 349 |  | Distr
67_FA | SND_LTCRL67_LTCRL67_67_FA | 351 |  | Distr
67_FB | SND_LTCRL67_LTCRL67_67_FB | 352 |  | Distr
67_FC | SND_LTCRL67_LTCRL67_67_FC | 353 |  | Distr
27 | SND_LTCRL67_LTCRL67_27 | 354 |  | Distr
59 | SND_LTCRL67_LTCRL67_59 | 355 |  | Distr
50N | SND_LTCRL67_LTCRL67_50N | 358 |  | Distr
50N | SND_LTCRL67_LTCRL67-2_50N | 359 |  | Distr
5F | SND_LTCRL67_LTCRL67_5F | 360 |  | Distr
5F | SND_LTCRL67_LTCRL67-2_5F | 361 |  | Distr
5F | SND_LTCRL67_LTCRL67-3_5F | 362 |  | Distr
51N | SND_LTCRL67_LTCRL67_51N | 364 |  | Distr
DR | SND_LTCRL67_LTCRL67_DR |  |  | Distr
BADC | SND_RETCTRLTEC_RETCTRLTEC_BADC | 420 |  | Distr
FUGA | SND_RETCTRLTEC_RETCTRLTEC_FUGA | 421 |  | Distr
DRET | SND_RETCTRLTEC_RETCTRLTEC_DRET | 422 |  | Distr
BADC | SND_RETCTRLTEC2_RETCTRLTEC2_BADC | 430 |  | Distr
FUGA | SND_RETCTRLTEC2_RETCTRLTEC2_FUGA | 431 |  | Distr
DRET | SND_RETCTRLTEC2_RETCTRLTEC2_DRET | 432 |  | Distr

## Analogicos
SIGLA | NOME | Escala | INDEX DNP3 | AOR
IA | SND_LT67SAN_LT67SAN_IA |  | 1 | Distr
IB | SND_LT67SAN_LT67SAN_IB |  | 2 | Distr
IC | SND_LT67SAN_LT67SAN_IC |  | 3 | Distr
P | SND_LT67SAN_LT67SAN_P |  | 4 | Distr
Q | SND_LT67SAN_LT67SAN_Q |  | 5 | Distr
FREQ | SND_LT67SAN_LT67SAN_FREQ |  | 36 | Distr
IA | SND_LT87SAN_LT87SAN_IA |  |  | Distr
IB | SND_LT87SAN_LT87SAN_IB |  |  | Distr
IC | SND_LT87SAN_LT87SAN_IC |  |  | Distr
IA | SND_LT67TPJ2_LT67TPJ2_IA |  | 9 | Distr
IB | SND_LT67TPJ2_LT67TPJ2_IB |  | 10 | Distr
IC | SND_LT67TPJ2_LT67TPJ2_IC |  | 11 | Distr
P | SND_LT67TPJ2_LT67TPJ2_P |  | 13 | Distr
Q | SND_LT67TPJ2_LT67TPJ2_Q |  | 14 | Distr
FREQ | SND_LT67TPJ2_LT67TPJ2_FREQ |  | 130 | Distr
VB | SND_LT21TPJ2_LT21TPJ2_VB |  |  | Distr
IA | SND_LT21TPJ2_LT21TPJ2_IA |  |  | Distr
IB | SND_LT21TPJ2_LT21TPJ2_IB |  |  | Distr
IC | SND_LT21TPJ2_LT21TPJ2_IC |  |  | Distr
P | SND_LT21TPJ2_LT21TPJ2_P |  |  | Distr
Q | SND_LT21TPJ2_LT21TPJ2_Q |  |  | Distr
FREQ | SND_LT21TPJ2_LT21TPJ2_FREQ |  |  | Distr
IA | SND_TRANSFER67_TRANSFER67_IA |  | 19 | Distr
IB | SND_TRANSFER67_TRANSFER67_IB |  | 20 | Distr
IC | SND_TRANSFER67_TRANSFER67_IC |  | 21 | Distr
P | SND_TRANSFER67_TRANSFER67_P |  | 23 | Distr
Q | SND_TRANSFER67_TRANSFER67_Q |  | 24 | Distr
FREQ | SND_TRANSFER67_TRANSFER67_FREQ |  | 229 | Distr
VAB | SND_TRANSFER87_TRANSFER87_VAB |  |  | Distr
IA | SND_TRANSFER87_TRANSFER87_IA |  |  | Distr
IB | SND_TRANSFER87_TRANSFER87_IB |  |  | Distr
IC | SND_TRANSFER87_TRANSFER87_IC |  |  | Distr
P | SND_TRANSFER87_TRANSFER87_P |  |  | Distr
Q | SND_TRANSFER87_TRANSFER87_Q |  |  | Distr
FREQ | SND_TRANSFER87_TRANSFER87_FREQ |  | 265 | Distr
IA | SND_LTCRL67_LTCRL67_IA |  | 28 | Distr
IB | SND_LTCRL67_LTCRL67_IB |  | 29 | Distr
IC | SND_LTCRL67_LTCRL67_IC |  | 30 | Distr
P | SND_LTCRL67_LTCRL67_P |  | 31 | Distr
Q | SND_LTCRL67_LTCRL67_Q |  | 32 | Distr
TPAM | SND_RHT_RHT_TPAM |  | 55 | Distr