## Info
File name: | Telemetry Data Template File
File created: | 06/08/2026 14:24:27
User: | rgeprod\cesar.augusto
Location(s):
Document Number:
Revision:
Legend
DMSMatchingTemplateInfo | Sheet containing supported ADMS types and attributes
RTUs | Configuration of Remote Terminal Units, Terminal Servers and Modem Banks
CommLInks | Configuration of TCP/IP based communication links
Modem | Modem configuration
ModemLinks | Configuration of Modem Links
DiscreteSignals | Configuration of discrete signals attached to a discrete type of remote points
AnalolgSignals | Configuration of analog signals attached to analog or rate (accumulator) type of remote points
Discrete-AnalogSignalTypes | Configuration of discrete signals attached to a analog or rate (accumulator) point type of remote poins (e.g. tap position signal types)
ScanGroups | Scan group configuration typical for serial based protocols (DNP3, VanComm, Series5...)
ICCP_RemoteControlCenters | Configuration of ICCP Remote Control Centers
ICCP_DataSetTransferSet | Configuration of ICCP Data Sets Transfer Sets
ICCP_NetworkConfigurationInfo | Configuration of network and security parameters for communication with the RCC
ServerDiscreteSignals | List of discrete signals served to the remote control center or SCADA master
ServerAnalogSignals | List of analog signals served to the remote control center or SCADA master
Note Catalog | Configuration of applicable types of note cataogs
Alarm Catalog | Configuration of Alarm catalog e.g. alarm text, alarm cause, priority (severity)
Event Catalog | Configuration of Event catalog e.g. event text, priority (severity)
Alarm Limits | Configuration of Alarm Limits for a specific measurement type, including reasonability checks and references to return-to-normal and high/low alarm limit catalogs
Limit Sets | Configuration of applicable limit sets and deadbands associated with an Alarm Limit
Tag Catalog | Configuration of applicable types of tags within the utility
Message Mappings | Message Mapping configuration - mapping of each possible discrete signal value (state) to a text message and alarm catalog associated with the state
DOM Catalog | Device operation monitoring - specifies criteria for alarm generation based on monitoring of cumulative switchgear operations

## DMSMatchingTemplateInfo (hidden)
YesNo | TrueFalse | AlarmEventCause | AlarmSeverity | MeasurementType | TagSemantics | DMSType | DiscreteSignalType | AbnormalState | PhaseCode | WindingType | SignalDirection | AnalogSignalType | UnitSymbol | FlowDirection | RemoteUnitType | TimeZone | RedundancyBehaviorType | SOEGroup | ProtocolTypeConitel | ScanTypeConitel | RemotePointType | OperateType | DiscreteInputTypeConitel | SectionConitel | DiscreteOutputDataTypeConitel | CommandTypeConitel | FunctionCodeConitel | AnalogInputTypeConitel | DeadbandDataType | DNP3Scan | TimeSyncMode |  | DNP3ConfirmMode | DNP3ObjectGroup | DNP3InputType | DNP3OutputType | ControlCode | DNP3Variation | DNP3SlaveEvent | DNP3SlaveDiscreteInputDataType | DNP3SlaveClassData | DNP3SlaveAnalogInputDataType | DNP3SlaveCounterDataType | IccpVersion | IccpBlocks | ConnectionRole | ServiceRole | AuthenticationMode | DstsType | IccpScope | IccpDataValueType | IECCounterInterrogationType | IECClockSyncMode | OctetSize | IEC101LinkMode | IEC101ConfirmMode | ModemCallType | ModemCommandType | BaudRate | IECDiscreteType | IECCommandQualifier | CommandState | IECAnalogType | IECRateType | ScanTypeMD3 | DiscreteInputModuleTypeMD3 | DiscreteInputDataTypeMD3 | DiscreteOutputTypeMD3 | DiscreteOutputDataTypeMD3 | CmdTypeMD3 | AnalogInputModuleTypeMD3 | AnalogInputDataTypeMD3 | AnalogOutputTypeMD3 | ModbusByteOrder | ModbusTransmissionMode | ModbusRegisterType | ModbusDiscreteOutputType | ModbusAnalogType | SecurityCodeSeries5 | ScanTypeSeries5 | DiscreteTypeSeries5 | ScanTypeVanComm | DiscreteInputTypeVanComm | DiscreteOutputTypeVanComm | AnalogTypeVanComm | CalculationParamType | InputTriggerType | RemoteUnitType | OperateType | RemotePointType | RemotePointType | RemotePointType | SignalDirection | MeasurementType | RemotePointType | OperateType | DNP3InputType | RemotePointType | OperateType | RemotePointType | SignalDirection | OperateType | MeasurementType | RemotePointType | OperateType | RemotePointType | OperateType | RemoteUnitType | RemoteUnitType | RemotePointType | IccpDataValueType | RemotePointType | IccpDataValueType | RemotePointType | SignalDirection | IccpDataValueType | MeasurementType | IccpDataValueType | IccpDataValueType | RemoteUnitType | OctetSize | OctetSize | OctetSize | OctetSize | BaudRate | OctetSize | RemotePointType | IECDiscreteType | IECDiscreteType | RemotePointType | IECAnalogType | RemotePointType | SignalDirection | MeasurementType | IECAnalogType | RemotePointType | IECDiscreteType | IECDiscreteType | RemotePointType | IECAnalogType | RemoteUnitType | OctetSize | RemoteUnitType | RemotePointType | IECDiscreteType | IECDiscreteType | RemotePointType | IECAnalogType | IECAnalogType | RemotePointType | SignalDirection | IECAnalogType | IECAnalogType | MeasurementType | RemotePointType | RemotePointType | RemotePointType | SignalDirection | MeasurementType | RemotePointType | RemotePointType | ModbusRegisterType | RemotePointType | SignalDirection | ModbusRegisterType | MeasurementType | RemotePointType | RemotePointType | RemotePointType | SignalDirection | MeasurementType | RemotePointType | RemotePointType | RemotePointType | SignalDirection | MeasurementType | CalculationParamType
No | TRUE | ApplicationAlarm | Severidade 16 | Unitless | DoNotOperatorClose | SUBSTATION | Custom | Normal | Unknown | None | Read | Custom | Default | Undirected | RTU | (UTC-12:00) International Date Line West | PrioritizeCostFactor | Group07 | Conitel2025 | Scan | Analog | DirectOperate | SingleBit | SectionA | SingleCoord | TripClose | Trip | TwelveBitSignedMagnitude | Int32 | Class0 | LAN | None | Never | BinaryInput | SingleBit | SingleCoord | Nul | Empty | WithoutTime | BinaryInputPackedFormat | Class1 | Int32WithFlag | Int32WithFlag | Version1996 | Block1 | Outgoing | Client | None | ManualRBE | Vcc | Unknown | CounterRead | SyncOnly | OneOctet | Unbalanced | Sometimes | DialOut | BaudRate | B100 | IECNone | UseDefault | On | IECShortNormalized | IECRateTimestamp | AnalogUnconditional | DigitalInputModuleDCM | SingleBit | RaiseLower | SingleCoord | Trip | AnalogInputModule | TwelveBitSignedMagnitude | AOMType | LittleEndian | TCP | Coil | SingleCoord | Short | LRC8bit | ExceptionScan | SingleCoord | AnalogScan | MomentaryStatus | SingleCoord | Signed | Bool | None | RTU | DirectOperate | Status | Analog | Analog | Read | Discrete | Status | DirectOperate | SingleBit | Analog | DirectOperate | Analog | Read | DirectOperate | Discrete | Status | DirectOperate | Analog | DirectOperate | ControlCenter | ControlCenter | Status | State | Analog | Real | Analog | Read | Real | Discrete | State | Real | RTU | OneOctet | OneOctet | OneOctet | OneOctet | B9600 | OneOctet | Status | IECSingleBit | IECSingleBit | Analog | IECShortNormalized | Analog | Read | Discrete | IECShortNormalized | Status | IECSingleBit | IECSingleBit | Analog | IECShortNormalized | RTU | OneOctet | RTU | Status | IECSingleBit | IECSingleBit | Analog | IECShortNormalized | IECShortNormalized | Analog | Read | IECShortNormalized | IECShortNormalized | Discrete | Status | Analog | Analog | Read | Discrete | Status | Analog | Coil | Analog | Read | Coil | Discrete | Status | Analog | Analog | Read | Discrete | Status | Analog | Analog | Read | Discrete | Bool
Yes | FALSE | DiscreteState | Severidade 15 | Voltage | DoNotOperatorOpen | BAY | SwitchStatus | Abnormal | N | Primary | Write | MeasuredValue | kV | Forward | SubstationControlSystem | (UTC-11:00) Coordinated Universal Time-11 | SwitchOnFirstRTUFailure | Group8F | Baker | SOEScan | Status | SelectWithValue | SingleBitMCDA | SectionB | TwoCoord | RaiseLower | Close | TwelveBitSignedTwoComplement | Int16 | Class0123 | Serial | Diagnostic | Sometimes | BinaryInputEvent | DoubleBit | MultiCoord | PulseOn | Int32 | WithAbsoluteTime | BinaryInputWithFlags | Class2 | Int16WithFlag | Int16WithFlag | Version2000 | Block2 | Incoming | Server | Mace | ManualInterval | Icc | Real | CounterFreezeWithReset | LoadDelay | TwoOctets | Balanced | Always | DialIn | TelephoneNumber | B200 | IECSingleBit | ShortPulse | Off | IECShortScaled | IECRateShortTimestamp | AnalogDeltaScan | DigitalInputModule | MultiBit | POMType | TwoCoord | Close | FloatingPointModule | TwelveBitSignedTwoComplement | InputPointControl | BigEndian | ASCII | DiscreteInput | TwoCoords | UShort | CRC16bit | StatusScan | DoubleCoord | AllStatusScan | MemoryStatus | DoubleCoord | Unsigned | Int | Value | TerminalServer | AutoSelectWithValue |  | Counter | Counter |  |  |  | AutoSelectWithValue | DoubleBit | Counter | AutoSelectWithValue | Counter |  | AutoSelectWithValue |  |  | AutoSelectWithValue | Counter | AutoSelectWithValue | DSTS | DSTS |  | Discrete | Counter | RealQuality | Counter |  | RealQuality |  | Discrete | RealQuality | ModemBank | TwoOctets | TwoOctets | TwoOctets | TwoOctets |  | TwoOctets |  | IECDoubleBit | IECDoubleBit | Counter | IECShortScaled | Counter |  |  | IECShortScaled |  | IECDoubleBit | IECDoubleBit | Counter | IECShortScaled |  | TwoOctets |  |  | IECDoubleBit | IECDoubleBit | Counter | IECShortScaled | IECShortScaled | Counter |  | IECShortScaled | IECShortScaled |  |  | Counter | Counter |  |  |  | Counter | HoldingRegister | Counter |  | HoldingRegister |  |  | Counter | Counter |  |  |  | Counter | Counter |  |  | Int
|  | AnalogHigh | Severidade 14 | Current | DoNotAutoClose | BASEVOLTAGE | Local | Auto | C | Secondary | ReadWrite | ControlSetValue | V | Reverse | ControlCenter | (UTC-10:00) Aleutian Islands | SwitchOnAllRTUFailure |  |  |  | Counter | SelectWithoutValue | MultiBit |  | MultiCoord |  | Raise | SixBitUnsigned | Float | ScanTable |  | Type2 | Always | DoubleBinaryInput | MultiCoord |  | PulseOff | Int16 | WithRelativeTime | DoubleBitBinaryInputPackedFormat | Class3 | Int32WithoutFlag | Int32WithoutFlag |  | Block3 |  | Peer | SSL | AutoAll |  | State | CounterFreezeWithoutReset | DelayAcq | ThreeOctets |  | Never |  | Command | B300 | IECDoubleBit | LongPulse |  | IECFloat | IECRate | DigitalCOSTimeTagged |  | MultiBitBCD | DOMType | MultiCoord | Raise | AnalogInputModuleDCM | TwelveBitUnsigned | FloatingPointOP |  | RTU | InputRegister | MultiCoord | Int32 |  | AnalogScan | MultiCoord | MomentaryStatusScan | LatchingStatus | MultiCoord |  | Double | Flags | [8 empty] | DirectNoAck | MultiCoord |  | DirectNoAck |  |  | DirectNoAck |  |  | DirectNoAck |  | DirectNoAck |  |  |  | StateSupp |  | RealQualityTimeTag |  |  | RealQualityTimeTag |  | StateSupp | RealQualityTimeTag | TerminalServer |  |  |  | Undefined |  | Undefined |  | IECStepPosition | IECStepPosition |  | IECFloat |  |  |  | IECFloat |  | IECStepPosition | IECStepPosition |  | IECFloat |  |  |  |  | IECStepPosition | IECStepPosition |  | IECFloat | IECFloat |  |  | IECFloat | IECFloat | [23 empty] | Double
|  | AnalogLow | Severidade 13 | ActivePower | DoNotAutoOpen | NETWORKINFO | OperationCount |  | CN | Tertiary |  | ControlBandwidth | mV |  | IED | (UTC-10:00) Hawaii | CostFactorWithAvailabilityCheck |  |  |  | SmartMeter | AutoSelectWithValue | MultiBitBCD |  |  |  | Lower | TwelveBitUnsigned |  |  |  | Type1 |  | DoubleBinaryInputEvent | MultiCoordBCD |  | LatchOn | Float |  | DoubleBitBinaryInputWithFlags | None | Int16WithoutFlag | Int16WithoutFlag |  | Block4 |  |  |  | AutoReal |  | Discrete | CounterReset |  | Undefined |  |  |  | Delay | B600 | IECStepPosition | Persistent |  | IECShortNormalizedTimestamp |  | DigitalUnconditional |  |  | InputPointControl |  | Lower |  | FloatingPoint |  |  |  | HoldingRegister |  | UInt32 |  | SetpointScan |  | MemoryStatusScan | Multibit | RaiseLower |  | String | Timestamp | [23 empty] | StateQuality |  | RealExtended |  |  | RealExtended |  | StateQuality | RealExtended | [8 empty] | IECBitstring | IECBitstring | [7 empty] | IECBitstring | IECBitstring | [6 empty] | IECBitstring | IECBitstring |  | IECShortNormalizedTimestamp | IECShortNormalizedTimestamp |  |  | IECShortNormalizedTimestamp | IECShortNormalizedTimestamp | [23 empty] | String

## AlarmCatalog
Alarm Catalog
ALARMEVENTC
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | ALARMEVENTC_DOALARM | ALARMEVENTC_TEXT | ALARMEVENTC_INFO | ALARMEVENTC_DELAY | ALARMEVENTC_ESCALATION | ALARMEVENTC_CAUSE | ALARMEVENTC_SEVERITY | ALARMEVENTC_ESCALATEDSEVERITY | ALARMEVENTC_AUTOACKRTN
Name | Delete | Alias | Custom ID | Do alarm | Text | Alarm Information | Delay [s] | Escalation Timeout [s] | Cause | Severity | Escalated Severity | Auto Acknowledge RTN
Retorno do Dado do Limite sem Alarme |  | LIRLIM | bfa467a2-0504-4148-93cd-22ceb2c7b90b | FALSE | LIRLIM - Retorno de limite {0:G} {1} {2} [] | Retorno do Dado do Limite Superior / Inferior | 0 | 0 | AnalogRTN | Severidade 12 | Severidade 16 | FALSE
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then catalog shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Specifies that an alarm should be generated
Note on F4: Text of the alarm or event, as displayed on the operator's Alarm or Event Summary. The text may contain parametrizable fields, enclosed in braces ({0}, {1}), whose meaning depends on the application issuing the alarm.
Note on G4: Additional alarm information, e.g. alarm description, possible alarm causes, recommended operator steps to properly handle alarm situation.
Note on H4: Delay, in seconds, between detection of the alarm condition and occurrence of alarm.
Note on I4: Timeout, in seconds, between operator's acknowledgment of the alarm and its re-appearance if the condition persists.
Note on J4: Specifies which kind of event causes this alarm or event.
Note on K4: Severity of the alarm.
Note on L4: Alarm severity to which alarm escalates once escalation timeout has elapsed.
Note on M4: Indicates if return-to-normal alarms are automatically acknowledged and thus removed from the system.

## AlarmLimits
Alarm Limits
ANALOGALARMLIMITS | [6 empty] | SIGNALVALUEALARM
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | ANALOGALMLIMITS_MEASTYPE | ANALOGALMLIMITS_MINEGU | ANALOGALMLIMITS_MAXEGU | SIGNALVALUEALARM_USEDINCREEP | SIGNALVALUEALARM_USEDINFLATLINE | SIGNALVALUEALARM_USEDIN2 | SIGNALVALUEALARM_USEDIN1
Name | Delete | Alias | Custom ID | Measurement Type | Min. Reasonable Value | Max. Reasonable Value | Reasonability Check Alarm Catalog | Return-To-Normal Alarm Catalog | Low Limit Catalog | High Limit Catalog
V_144.9@143.5_131.1@129.7_Trans |  |  | 3370e0a7-1761-44a1-8f3b-02cdb84bf8ef | Voltage | -3.4028e+38 | 3.4028e+38 |  | Retorno do Dado do Limite sem Alarme | Alarme de Dado em Limite Inferior 1;Alarme de Dado em Limite Inferior 2 | Alarme de Dado em Limite Superior 1;Alarme de Dado em Limite Superior 2
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then catalog shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Specifies the measurement type in which the element limits are expressed.
Note on F4: Minimum plausible value of the signal value in default engineering units for given measurement type.
Note on G4: Maximum plausible value of the signal value in default engineering units for given measurement type.
Note on H4: Reference to Reasonability alarm/event catalog.
Note on I4: Reference to Return-to-Normal alarm/event catalog.
Note on J4: Reference to a list of alarms associated with low limit violations, in rising order of severity (decreasing order of value).
Note on K4: Reference to a list of alarms associated with high limit violations, in rising order of severity.

## LimitSets
Limit Set
LIMITSET
LIMITSET_DYNAMICRATING | IDOBJ_NAME | LIMITSET_LOWLIMITVALUES | LIMITSET_LOWDEADBAND | LIMITSET_LIMITVALUES | LIMITSET_HIGHDEADBAND
Alarm Limit | Name | Low Limits | Low Limit Deadbands | High Limits | High Limit Deadbands
V_144.9@143.5_131.1@129.7_Trans | Default | 131.1;129.7 | 0.12;0.12 | 143.5;144.9 | 0.09;0.09
Note on A4: Reference to an Alarm Limit set.
Note on B4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on C4: Values of "low" alarm limits (an alarm is raised when the value falls below this limit).
Note on D4: Dead band around the low limit values to be exceeded in order to raise an alarm.
Note on E4: Values of "high" alarm limits (an alarm is raised when the value exceeds this limit).
Note on F4: Dead band below the high limit value to be exceeded in order to return the alarm to normal.

## MessageMappings
Message Mapping
MESSAGEMAPPING | [10 empty] | SIGNALVALUEALARM
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | MESSAGEMAPPING_MESSAGES | MESSAGEMAPPING_VALUES | MESSAGEMAPPING_SCADAVALUES | MESSAGEMAPPING_CMDMESSAGES | MESSAGEMAPPING_COLORS | MESSAGEMAPPING_ABNORMAL | MESSAGEMAPPING_OVERRIDABLE | SIGNALVALUEALARM_USEDIN1
Name | Delete | Alias | Custom ID | Messages | Values | SCADA Values | Commanding Messages | Colors | Abnormal Status | Overridable | Alarm Catalog
null@null___NORMAL@ATUADO___Custom_S_TS_SA |  |  | aba5eec1-6268-464b-a141-f943b4fed6b7 | Transit;NORMAL;ATUADO;Error | 0;1;2;3 | 2;0;1;3 | ;;; | #FF000000;#FF00FF00;#FFFF0000;#FFA9A9A9 | Abnormal;Auto;Auto;Abnormal | FALSE;TRUE;TRUE;FALSE | Alarme de Estado em Ponto Telessinalizado SA;Alarme de Estado em Ponto Telessinalizado SA;Alarme de Estado em Ponto Telessinalizado SA;Alarme de Estado em Ponto Telessinalizado SA
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then catalog shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: List of strings associated with possible values, in the same order as Values. An empty string denotes that the corresponding value cannot occur as read from the field (i.e. may be used only for commanding).
Note on F4: List of possible values that the signal can take.
Note on G4: Integer values in SCADA which correspond to DMS values in values attribute. SCADA plugin does the translation in both directions. If empty, no translation is perfomed, and SCADA values are translated as-is.
Note on H4: List of strings associated with possible values, used for commanding, in the same order as Values. If the value is not commandable, an empty string is used.
Note on I4: List of color indexes associated with every possible state
Note on J4: For each value in the list, specifies if it is treated as abnormal.
Note on K4: Specifies whether every possible value can be entered as manual override.
Note on L4: Reference to a list of alarms associated with high limit violations, in rising order of severity.

## ManualDiscreteSignals
Signal Details
DSIGNAL
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | MEASUREMENT_PSR |  | IDOBJ_AORGROUP | SIGNAL_DEVICEMAPPING | [7 empty] | DSIGNAL_TYPE | MEASUREMENT_TYPE | MEASUREMENT_PHASE | MEASUREMENT_SIDE | SIGNAL_DIRECTION | SIGNAL_ANNUALSCH | DSIGNAL_MAPPING | DSIGNAL_NORMALVALUE | DSIGNAL_DOMCATALOG
Signal Name | Delete | Signal Alias | Signal Custom ID | Device Name | Device Custom ID | Signal AOR Group | Substation | Feeder | Feeder Object | Bank | Bay | Device | Device Mapping | Description | Signal Type | Measurement Type | Phases | Side | Direction | Annual Schedule | Message Mapping | Normal Value | DOM Catalog
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to 'Yes', signal is going to be deleted from SCADA database upon telemetry data import. If set to 'No' or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Name of the device (or container) where signal shall reside upon telemetry data import.
Note on F4: Custom ID of the device (or container) where signal shall reside upon telemetry data import.
Note on G4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on H4: Substation name used as a reference for signal mapping.
Note on I4: Feeder name used as a reference for signal mapping.
Note on J4: Feeder object name used as a reference for signal mapping.
Note on K4: Bank name used as a reference for signal mapping.
Note on L4: Bay name used as a reference for signal mapping.
Note on M4: Device name used as a reference for signal mapping.
Note on N4: Unique ID of the device to which signal is mapped.
Note on O4: Optional field for additional description (not included in telemetry data import).
Note on P4: Meaning of this signal, e.g. "Tap position" or "Switch status"
Note on Q4: Type of the measured quantity, and implied unit (A, kV, kW, Hz...)
Note on R4: Measured phases, Unknown if not available/applicable
Note on S4: Winding of a transformer, or terminal of a conducting equipment (such as switch) where the measurement is located. Except for transformers, may be left unspecified (none).
Note on T4: Specifies if the value can be commanded (written), measured (read), or both.
Note on U4: A signal value (typically non-SCADA controlled) may be scheduled. Examples include public lights, capacitors, and regulating control settings that vary over time.
Note on V4: Describes properties of each possible discrete signal value.
Note on W4: Normal value of this signal. This value is used to initialize the dynamic model during "cold start" of the ADMS.
Note on X4: Specifies properties of device operations monitoring (DOM) performed on this signal.

## ManualAnalogSignals
Signal Details
ASIGNAL | [27 empty] | ADVALMLIMITS
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | MEASUREMENT_PSR |  | IDOBJ_AORGROUP | SIGNAL_DEVICEMAPPING | [7 empty] | ASIGNAL_TYPE | MEASUREMENT_TYPE | MEASUREMENT_UNIT | MEASUREMENT_PHASE | MEASUREMENT_SIDE | SIGNAL_DIRECTION | SIGNAL_ANNUALSCH | ASIGNAL_FLOWDIRECTION | ASIGNAL_RATEDVALUE | ASIGNAL_MINSETPOINT | ASIGNAL_MAXSETPOINT | ASIGNAL_TRUST | ASIGNAL_ALARMLIMITS | IDOBJ_NAME | ADVALMLIMITS_ROCALARMGROWTH | ADVALMLIMITS_ROCLIMITGROWTH | ADVALMLIMITS_ROCALARMDROP | ADVALMLIMITS_ROCLIMITDROP | ADVALMLIMITS_FLATLINEALARM | ADVALMLIMITS_FLATLINETIMEOUT | ADVALMLIMITS_CREEPALARM | ADVALMLIMITS_CREEPDEADBAND
Signal Name | Delete | Signal Alias | Signal Custom ID | Device Name | Device Custom ID | Signal AOR Group | Substation | Feeder | Feeder Object | Bank | Bay | Device | Device Mapping | Description | Signal Type | Measurement Type | Display Unit | Phases | Side | Direction | Annual Schedule | Flow Direction | Rated Value | Min. Setpoint | Max. Setpoint | Trust Factor | Alarm Limits | Advanced Alarms - Name | Advanced Alarms - Rate-Of-Growth Alarm | Advanced Alarms - Rate-Of-Growth Limit | Advanced Alarms - Rate-Of-Drop Alarm | Advanced Alarms - Rate-Of-Drop Limit | Advanced Alarm - Flatline Alarm | Advanced Alarm - Flatline Timeout [s] | Advanced Alarm - Creep Alarm | Advanced Alarm - Creep Deadband
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes, both signal and remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Name of the device (or container) where signal shall reside upon telemetry data import.
Note on F4: Custom ID of the device (or container) where signal shall reside upon telemetry data import.
Note on G4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on H4: Substation name used as a reference for signal mapping.
Note on I4: Feeder name used as a reference for signal mapping.
Note on J4: Feeder object name used as a reference for signal mapping.
Note on K4: Bank name used as a reference for signal mapping.
Note on L4: Bay name used as a reference for signal mapping.
Note on M4: Device name used as a reference for signal mapping.
Note on N4: Unique ID of the device to which signal is mapped.
Note on O4: Optional field for additional description (not included in telemetry data import).
Note on P4: Meaning of this signal, e.g. "Set point" or "Measured value"
Note on Q4: Type of the measured quantity, and implied unit (A, kV, kW, Hz...)
Note on R4: Engineering unit in which the value is displayed to the operator.
Note on S4: Measured phases, Unknown if not available/applicable
Note on T4: Winding of a transformer, or terminal of a conducting equipment (such as switch) where the measurement is located. Except for transformers, may be left unspecified (none).
Note on U4: Specifies if the value can be commanded (written), measured (read), or both.
Note on V4: A signal value (typically non-SCADA controlled) may be scheduled. Examples include public lights, capacitors, and regulating control settings that vary over time.
Note on W4: Specifies the referent direction of the measurement (typically active power). "Forward" means that the positive sign is when the power flows from the 1st terminal to the second, "Reverse" in the opposite direction, while "Undirected" means that the direction is unspecified.
Note on X4: Rated value (expected maximum) of the signal.
Note on Y4: Minimum allowed setpoint (commanded value).
Note on Z4: Maximum allowed setpoint (commanded value).
Note on AA4: Value of trust factor for this specific measurement. If -1, the default trust factor for measurements is used; otherwise, that value is overridden.
Note on AB4: Alarm limits applicable to this signal. If absent, no alarms and violations are reported.
Note on AC4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on AD4: Alarm raised when the value grows from the previous reading at a rate higher than the specified.
Note on AE4: Rate of variable growth [unit/second] at which a rate-of-growth alarm is raised.
Note on AF4: Alarm raised when the value drops from the previous reading at a rate higher than the specified.
Note on AG4: The rate of value drop [unit/second] at which a rate-of-change alarm appears.
Note on AH4: A flatline alarm is generated if the value change does not exceed the specified limit within a specified time period (timeout).
Note on AI4: Time period during which the value does not change, and the alarm is raised
Note on AJ4: Creep alarm is generated when the value does change for more than the specified amount, compared to the setpoint.
Note on AK4: Deadband of change after which the creep alarm is raised.

## DNP3_RTUs
DNP3 Remote Unit
RTUDNP3 | [55 empty] | COMMCHANNELDNP3
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | IDOBJ_AORGROUP | PSR_LOCATION | EQUIPMENT_CONT |  | RTU_TYPE | REMOTETERMINALUNIT_LISTENONLYMODE¦TERMINALSERVER_LISTENONLYMODE | TERMINALSERVER_DELAYBETWEENCOMMANDS | RTU_TIMEZONE | RTU_USEDST | RTU_ENABLETIMEOFFSET | RTU_TIMEOFFSETPAST | RTU_TIMEOFFSETFUTURE | RTU_PARENTREMOTE | RTU_INITIALPOLL | RTU_INITSEQUENCERETRYPERIOD | REMOTETERMINALUNIT_FASTPOLLING | REMOTETERMINALUNIT_FASTTIMEOUT | REMOTETERMINALUNIT_REQTIMEOUT | RTU_WATCHDOGTIMEOUT | RTU_REDUNDANCYBEHAVIOR | REMOTETERMINALUNIT_COMMRETRIES | REMOTETERMINALUNIT_SCANAFTERCMD | REMOTETERMINALUNIT_CMDSCANDELAY | REMOTETERMINALUNIT_SCANAFTERUCOS | RTUDNP3_SRCADDRESS | RTUDNP3_DESTADDRESS | RTUDNP3_C1UNSOLICITED | RTUDNP3_C2UNSOLICITED | RTUDNP3_C3UNSOLICITED | RTUDNP3_INTEGRITYSCOPE | RTUDNP3_KEEPALIVEPERIOD | RTUDNP3_COLDRESTART | RTUDNP3_ENABLEFREEZE | RTUDNP3_PROTTYPE | RTUDNP3_CLEAR | RTUDNP3_NOACK | RTUDNP3_FREEZECYCLE | RTUDNP3_USERNUMBER | RTUDNP3_ENABLESECURE | RTUDNP3_SECURE | REMOTETERMINALUNIT_PERIODICPOLL | REMOTETERMINALUNIT_POLLCYCLE | RTUDNP3_C1POLL | RTUDNP3_C1POLLCYCLE | RTUDNP3_C2POLL | RTUDNP3_C2POLLCYCLE | RTUDNP3_C3POLL | RTUDNP3_C3POLLCYCLE | RTUDNP3_TIMESYNC | RTUDNP3_TIMESYNCCYCLE | RTUDNP3_TIMESYNCMODE | RTUDNP3_INITIALRESETLINKSTATES | COMMCHANNEL_FRONTEND
Remote Unit (Terminal Server) Name | Delete | Remote Unit Alias | Remote Unit Custom ID | Remote Unit AOR Group | Remote Unit Description | Container Name | Container Custom ID | Remote Unit Type | Listen-Only Mode | Delay Between RTUs [s] | Time Zone | DST-Aware | Enable Time Offset | Time Offset Past [s] | Time Offset Future [s] | Parent Remote | Enable Initial Integrity Scan | Initial Sequence Retry Period | Fast-Scan Period [s] | Fast-Scan Timeout [s] | Request Timeout [s] | Watchdog Timeout [s] | Redundancy Behavior | Command Attempts | Scan After Command | Scan Delay [s] | Scan After Uncommanded Change | Source Address | Destination Address | Class 1 Unsolicited Messages | Class 2 Unsolicited Messages | Class 3 Unsolicited Messages | Scan Scope | Keep Alive Period | RTU Cold Restart | Enable Freeze and Read | Protection Type | Clear | No Acknowledgement | Freeze and Read Periodic Cycle [s] | User Number | Enable Secure | Secure DNP3 Settings | Enable Class 0 Periodic Scan | Class 0 Scan Cycle [s] | Enable Class 1 Periodic Scan | Class 1 Scan Cycle [s] | Enable Class 2 Periodic Scan | Class 2 Scan Cycle [s] | Enable Class 3 Periodic Scan | Class 3 Scan Cycle [s] | Enable Time Synchronization | Synchronization Cycle [s] | Time Sync Mode | Initial Reset Link States | Front-End Name
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then RTU/Terminal Server shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on F4: Optional human-readable notes regarding physical location or other properties of the resource
Note on G4: The lowest-level container that contains this piece of equipment e.g., substation, bay, feeder.
Note on H4: A project-specific container Id, typically used as an indetifier
Note on I4: Type of remote unit.
Note on J4: Commanding is disabled on the entire remote unit, and only point reading is performed
Note on K4: Delay [s] between remotes on a shared communication line.
Note on L4: String that uniquely identifies the time zone where the Remote resides. If empty, it is presumed to be the same as front-end processor time zone.
Note on M4: Indicates that the RTU uses daylight saving time in its timestamps. If true, the timeZone attribute should specify a non-DST zone.
Note on N4: Enable time offset functionality.
Note on O4: Lower limit of maximum tolerable time difference between ADMS time and RTU time.
Note on P4: Upper limit of maximum tolerable time difference between ADMS time and RTU time.
Note on Q4: Link to a higher-level remote unit level (a data concentrator)
Note on R4: Indicates whether initial integrity scan is enabled
Note on S4: Represents delay time before the system retries to perform initial sequence.
Note on T4: Fast-Scan period [s], RTU GI command is issued every period. Must be less or equal to the Fast-Scan timeout.
Note on U4: Determines how long the fast-scan mode is switched on [s].
Note on V4: Maximum time at which the remote responds to a request (such as selection).
Note on W4: Remote points are marked with stale indicator if their value is not acquired longer than the Watchdog Timeout period.
Note on X4: Defines in automatic mode which of the configured links is going to be preferred.
Note on Y4: Number of attempts of the same command before moving to the next command.
Note on Z4: Scan action is performed after each command on the remote unit, following the configured delay.
Note on AA4: Delay in seconds [s] to begin scan after commanded or un-commanded change.
Note on AB4: Scan action is performed after each uncommanded change on the remote unit, following the configured delay.
Note on AC4: DNP3 master (SCADA) address on data link layer
Note on AD4: DNP3 slave (RTU) address on data link layer.
Note on AE4: Enable unsolicited messages for class 1 (status points).
Note on AF4: Enable unsolicited messages for class 2 (analog points).
Note on AG4: Enable unsolicited messages for class 3 (counter points).
Note on AH4: Specifies DNP3 class (or scan-table) to be included in integrity scan.
Note on AI4: Maximum allowed time for a connection to be in idle state. Time interval between two consecutive keep alive requests. If value of zero (0) is set, sending of keep alive request is disabled.
Note on AJ4: RTU is automatically restarted.
Note on AK4: Freeze and Read commands are performed for counter (accumulator) points.
Note on AL4: Type of advanced function implemented at the RTU. Supported values are: None, Type1, Type2 and Diagnostic
Note on AM4: If true, Freeze command also clears counter points at the RTU.
Note on AN4: If true, acknowledgement from RTU is not required.
Note on AO4: Freeze and read periodic cycle in seconds.
Note on AP4: User number uniquely identifies a particular user.
Note on AQ4: Enable secure DNP3 communication.
Note on AR4: Optional reference to DNP3 Secure settings.
Note on AS4: Indicates that periodic scan is enabled
Note on AT4: Periodic scan cycle [s].
Note on AU4: Enable periodic remote scan of class 1 (status points).
Note on AV4: Periodic scan cycle for class 1 in seconds.
Note on AW4: Enable periodic remote scan of class 2 (analog points).
Note on AX4: Periodic scan cycle for class 2 in seconds.
Note on AY4: Enable periodic remote scan of class 3 (counter points).
Note on AZ4: Periodic scan cycle for class 3 in seconds.
Note on BA4: Turns on periodic time synchronization between the front end and RTU.
Note on BB4: Cycle of time synchronization, if enabled.
Note on BC4: Mode of time synchronization, if enabled.
Note on BD4: Indication whether to send a reset link states request when connection is established.
Note on BE4: Name of the front-end processor that will own the channel and process all the communication through it.

## DNP3_UDPLinks
DNP3 Communication Link
COMMLINKDNP3 | [13 empty] | UDPLINK
IDOBJ_NAME | DELETE | COMMLINK_RTU | IDOBJ_ALIAS | COMMLINK_COMMCOST | IDOBJ_AORGROUP | COMMLINK_CONNRETRIES | COMMLINK_LATENCYTIMEOUT | COMMLINKDNP3_PERIODICLINKSTATUSCHECK | COMMLINKDNP3_CONFIRMMODE | COMMLINKDNP3_CONFIRMTIMEOUT | COMMLINK_MEDIUM | COMMLINKDNP3_LINKSTATUSCHECKCYCLE | IDOBJ_CUSTOMID | UDPLINK_IPADDRESS | UDPLINK_DESTPORT | UDPLINK_USESOURCEPORT | UDPLINK_SOURCEPORT | UDPLINK_UDPCONNTIMEOUT
Communication Link Name | Delete | Remote Unit | Communication Link Alias | Cost Factor | Communication Link AOR Group | Connection Attempts | Link Latency [s] | Periodic link status check | Confirm Mode | Confirm Timeout [s] | Communication Medium | Link status check cycle [s] | Communication Link Custom ID | IP Address | Destination Port | Use Source Port | Source Port | Connect Timeout [s]
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then Communication Link shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Remote unit using this link
Note on D4: Optional string describing an alternate name of the object.
Note on E4: Relative cost, in virtual money units, of communication with the remote using this link.
Note on F4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on G4: Number of connection attempts prior to reporting an alarm and switching over to the next communication link (if redundant link exists).
Note on H4: Time delay caused by communication network between end devices.
Note on I4: Periodic link status check
Note on J4: Specifies when to request the link layer confirmation for frames that contain user data.
Note on K4: The maximum waiting time for link level confirmation, if requested.
Note on L4: Optional string e.g. indicating physical medium of the communication link.
Note on M4: Link status check cycle
Note on N4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on O4: The remote’s IP address via this link, given as a dotted decimal or as a host name.
Note on P4: UDP destination port to which to connect.
Note on Q4: If true, UDP source port is configured manually. Otherwise UDP source port is assigned automatically.
Note on R4: UDP source (local) port.
Note on S4: Timeout to wait for an initial remote response before the UDP/IP connection is declared stale.

## DNP3_TCPLinks
DNP3 Communication Link
COMMLINKDNP3 | [13 empty] | TCPIPLINK
IDOBJ_NAME | DELETE | COMMLINK_RTU | IDOBJ_ALIAS | COMMLINK_COMMCOST | IDOBJ_AORGROUP | COMMLINK_CONNRETRIES | COMMLINK_LATENCYTIMEOUT | COMMLINKDNP3_PERIODICLINKSTATUSCHECK | COMMLINKDNP3_CONFIRMMODE | COMMLINKDNP3_CONFIRMTIMEOUT | COMMLINK_MEDIUM | COMMLINKDNP3_LINKSTATUSCHECKCYCLE | IDOBJ_CUSTOMID | TCPIPLINK_IPADDRESS | TCPIPLINK_PORT | TCPIPLINK_TCPCONNTIMEOUT
Communication Link Name | Delete | Remote Unit | Communication Link Alias | Cost Factor | Communication Link AOR Group | Connection Attempts | Link Latency [s] | Periodic link status check | Confirm Mode | Confirm Timeout [s] | Communication Medium | Link status check cycle [s] | Communication Link Custom ID | IP Address | Port | TCP Connection Timeout [s]
UTR_ARV_1_Link1__SAT Hughes |  | UTR_ARV_1 | UTR_ARV_1_Link1 | 0 |  | 3 | 2 | FALSE | Never | 10 | SAT Hughes | 3600 | 2c7f252c-f5e3-4d9a-aa06-06843a2659d5 | 10.68.113.5 | 20002 | 60
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then Communication Link shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Remote unit using this link
Note on D4: Optional string describing an alternate name of the object.
Note on E4: Relative cost, in virtual money units, of communication with the remote using this link.
Note on F4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on G4: Number of connection attempts prior to reporting an alarm and switching over to the next communication link (if redundant link exists).
Note on H4: Time delay caused by communication network between end devices.
Note on I4: Periodic link status check
Note on J4: Specifies when to request the link layer confirmation for frames that contain user data.
Note on K4: The maximum waiting time for link level confirmation, if requested.
Note on L4: Optional string e.g. indicating physical medium of the communication link.
Note on M4: Link status check cycle
Note on N4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on O4: The remote’s IP address via this link, given as a dotted decimal or as a host name.
Note on P4: TCP port to which to connect.
Note on Q4: Timeout to wait for an initial remote response before the TCP/IP connection is declared stale.

## DNP3_ScanGroups
DNP3 Scan Group
SCANGROUPDNP3
SCANGROUP_RTU | SCANGROUP_SCANCYCLE | SCANGROUPDNP3_OBJGROUP | SCANGROUPDNP3_OBJVARIATION | SCANGROUPDNP3_ALLPOINTS | SCANGROUP_STARTCOORD | SCANGROUP_ENDCOORD
Remote Unit | Scan Cycle [s] | Group | Object Variation | All Points | Start Coordinate | End Coordinate
Note on A4: A remote unit using this scan group
Note on B4: Periodic scan cycle.
Note on C4: DNP3 object type to be used
Note on D4: DNP3 variation, which presents a subtype of the object
Note on E4: Specifies that all points of specified group and variation are scanned. If false, coordinate ranges defined by start and end point are used
Note on F4: Specifies starting coordinate (index or group) when range scanning request is performed toward the RTU.
Note on G4: Specifies the last coordinate (index or group) included when range scanning request is performed toward the RTU.

## DNP3_DiscreteSignals
Signal Details | [22 empty] | Remote Points
DSIGNAL | [22 empty] | REMOTEPOINT | [15 empty] | CHATTERPROCESSING
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | MEASUREMENT_TYPE | IDOBJ_AORGROUP | SIGNAL_DEVICEMAPPING | [7 empty] | DSIGNAL_TYPE | MEASUREMENT_PHASE | MEASUREMENT_SIDE | SIGNAL_DIRECTION | SIGNAL_ANNUALSCH | DSIGNAL_MAPPING | DSIGNAL_NORMALVALUE | DSIGNAL_DOMCATALOG | MEASUREMENT_PSR | IDOBJ_NAME | DELETE | IDOBJ_CUSTOMID | IDOBJ_ALIAS | REMOTEPOINT_TYPE | REMOTEOUTPUT_CMDTIMEOUT | REMOTEOUTPUT_SBOMODE | DINPUTDNP3_DATATYPE¦DOUTPUTDNP3_INDATATYPE | REMOTEINPUTDNP3_INCOORDS¦REMOTEOUTPUTDNP3_INCOORDS | REMOTEINPUTDNP3_OUTREGISTER¦REMOTEOUTPUTDNP3_OUTREGISTER | REMOTEOUTPUTDNP3_POLLAFTERCMD | REMOTEOUTPUTDNP3_POLLDELAY | DOUTPUTDNP3_OUTDATATYPE | REMOTEOUTPUTDNP3_OUTCOORDS | DOUTPUTDNP3_CTRLCODES | DOUTPUTDNP3_CMDTIMES | CHATTERPROCESSING_ENABLE | CHATTERPROCESSING_NUMBEROFCHANGES | CHATTERPROCESSING_OSCILLATIONPERIOD | CHATTERPROCESSING_SUPPRESSIONPERIOD
Signal Name | Delete | Signal Alias | Signal Custom ID | Measurement Type | Signal AOR Group | Substation | Feeder | Feeder Object | Bank | Bay | Device | Device Mapping | Description | Signal Type | Phases | Side | Direction | Annual Schedule | Message Mapping | Normal Value | DOM Catalog | Remote Unit | Remote Point Name | Delete Remote Point | Remote Point Custom ID | Remote Point Alias | Remote Point Type | Command Timeout [s] | Commanding Mode | Input Data Type | Input Coordinates | Output Register | Scan After Command | Scan Delay [s] | Output Data Type | Output Coordinates | Control Codes | Command Times [s] | Enable Oscillation Processing | Number of Changes | Oscillation Period [s] | Suppression Period [s]
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes, both signal and remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Type of the measured quantity, and implied unit (A, kV, kW, Hz...)
Note on F4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on G4: Substation name used as a reference for signal mapping.
Note on H4: Feeder name used as a reference for signal mapping.
Note on I4: Feeder object name used as a reference for signal mapping.
Note on J4: Bank name used as a reference for signal mapping.
Note on K4: Bay name used as a reference for signal mapping.
Note on L4: Device name used as a reference for signal mapping.
Note on M4: Unique ID of the device to which signal is mapped.
Note on N4: Optional field for additional description (not included in telemetry data import).
Note on O4: Meaning of this signal, e.g. "Tap position" or "Switch status"
Note on P4: Measured phases, Unknown if not available/applicable
Note on Q4: Winding of a transformer, or terminal of a conducting equipment (such as switch) where the measurement is located. Except for transformers, may be left unspecified (none).
Note on R4: Specifies if the value can be commanded (written), measured (read), or both.
Note on S4: A signal value (typically non-SCADA controlled) may be scheduled. Examples include public lights, capacitors, and regulating control settings that vary over time.
Note on T4: Describes properties of each possible discrete signal value.
Note on U4: Normal value of this signal. This value is used to initialize the dynamic model during "cold start" of the ADMS.
Note on V4: Specifies properties of device operations monitoring (DOM) performed on this signal.
Note on W4: Physical device or other model resource being measured or controlled
Note on X4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on Y4: If set to Yes, remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on Z4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on AA4: Optional string describing an alternate name of the object.
Note on AB4: Specifies the kind of the value being transferred: analog (real), discrete (integer), or rate
Note on AC4: timeout for command failure detection
Note on AD4: Type of select-before-operate mechanism used to command the device.
Note on AE4: Specifies if the point value is single-bit (two-state), double-bit (four-state) or complex data type using multiple coordinates.
Note on AF4: Input coordinate(s) on the RTU.
Note on AG4: If true, input point is used to report status of discrete or analog output point.
Note on AH4: Indicates whether scan will be automatically executed after every operate command
Note on AI4: Delay in seconds [s] to begin scan after commanded or un-commanded change.
Note on AJ4: Specifies if the output point is single-coordinate or multi-coordinate (two or more).
Note on AK4: Output coordinate(s) on the RTU.
Note on AL4: Binary command control code corresponding to every possible command (at least two).
Note on AM4: Duration of period during which the output drive remains active, for every possible. Zero indicates that the device uses its pre-configured value.
Note on AN4: Enable oscillation processing.
Note on AO4: Number of status changes required to detect chattering.
Note on AP4: Maximum time interval required to detect chattering.
Note on AQ4: Duration of suppression period. Idle time before oscillation processing is re-applied.

## DNP3_AnalogSignals
Signal Details | [35 empty] | Remote Points
ASIGNAL | [26 empty] | ADVALMLIMITS | [8 empty] | REMOTEPOINT | [17 empty] | APROCESSING
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | MEASUREMENT_TYPE | IDOBJ_AORGROUP | SIGNAL_DEVICEMAPPING | [7 empty] | ASIGNAL_TYPE | MEASUREMENT_PHASE | MEASUREMENT_UNIT | MEASUREMENT_SIDE | SIGNAL_DIRECTION | SIGNAL_ANNUALSCH | ASIGNAL_FLOWDIRECTION | ASIGNAL_RATEDVALUE | ASIGNAL_MINSETPOINT | ASIGNAL_MAXSETPOINT | ASIGNAL_TRUST | ASIGNAL_ALARMLIMITS | MEASUREMENT_PSR | IDOBJ_NAME | ADVALMLIMITS_ROCALARMGROWTH | ADVALMLIMITS_ROCLIMITGROWTH | ADVALMLIMITS_ROCALARMDROP | ADVALMLIMITS_ROCLIMITDROP | ADVALMLIMITS_FLATLINEALARM | ADVALMLIMITS_FLATLINETIMEOUT | ADVALMLIMITS_CREEPALARM | ADVALMLIMITS_CREEPDEADBAND | IDOBJ_NAME | DELETE | IDOBJ_CUSTOMID | IDOBJ_ALIAS | REMOTEPOINT_TYPE | REMOTEPOINT_SCALING | REMOTEPOINT_INTERCEPT | REMOTEPOINT_ADCFAIL | REMOTEOUTPUT_CMDTIMEOUT | REMOTEOUTPUT_SBOMODE | REMOTEOUTPUT_SPTOL | REMOTEINPUTDNP3_INCOORDS¦REMOTEOUTPUTDNP3_INCOORDS | REMOTEINPUTDNP3_OUTREGISTER¦REMOTEOUTPUTDNP3_OUTREGISTER | AOUTPUTDNP3_OUTTYPE | REMOTEOUTPUTDNP3_OUTCOORDS | COUNTERDNP3_ENABLEROLLOVER | COUNTERDNP3_ROLLOVER | COUNTERDNP3_RESET | APROCESSING_LOCALDBCHECK | APROCESSING_USERELATIVEDB | APROCESSING_DEADBANDTYPE | APROCESSING_DEADBAND | APROCESSING_ZEROCLAMPINGDB | APROCESSING_LINEARFILTER | APROCESSING_LFFACTOR
Signal Name | Delete | Signal Alias | Signal Custom ID | Measurement Type | Signal AOR Group | Substation | Feeder | Feeder Object | Bank | Bay | Device | Device Mapping | Description | Signal Type | Phases | Display Unit | Side | Direction | Annual Schedule | Flow Direction | Rated Value | Min. Setpoint | Max. Setpoint | Trust Factor | Alarm Limits | Remote Unit | Advanced Alarms - Name | Advanced Alarms - Rate-Of-Growth Alarm | Advanced Alarms - Rate-Of-Growth Limit | Advanced Alarms - Rate-Of-Drop Alarm | Advanced Alarms - Rate-Of-Drop Limit | Advanced Alarm - Flatline Alarm | Advanced Alarm - Flatline Timeout [s] | Advanced Alarm - Creep Alarm | Advanced Alarm - Creep Deadband | Remote Point Name | Delete Remote Point | Remote Point Custom ID | Remote Point Alias | Remote Point Type | Scaling Factor | Intercept | ADC Fail | Command Timeout [s] | Commanding Mode | Setpoint Tolerance | Input Coordinates | Output Register | Output Data Type | Output Coordinates | Enable Rollover | Rollover Value | With Reset | Advanced Processing - Local Deadband Check | Advanced Processing - Use Relative Deadband | Deadband Type | Advanced Processing - Deadband | Advanced Processing - Zero Clamping Deadband | Advanced Processing - Apply Linear Filter | Advanced Processing - Linear Filter Factor
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes, both signal and remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Type of the measured quantity, and implied unit (A, kV, kW, Hz...)
Note on F4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on G4: Substation name used as a reference for signal mapping.
Note on H4: Feeder name used as a reference for signal mapping.
Note on I4: Feeder object name used as a reference for signal mapping.
Note on J4: Bank name used as a reference for signal mapping.
Note on K4: Bay name used as a reference for signal mapping.
Note on L4: Device name used as a reference for signal mapping.
Note on M4: Unique ID of the device to which signal is mapped.
Note on N4: Optional field for additional description (not included in telemetry data import).
Note on O4: Meaning of this signal, e.g. "Set point" or "Measured value"
Note on P4: Measured phases, Unknown if not available/applicable
Note on Q4: Engineering unit in which the value is displayed to the operator.
Note on R4: Winding of a transformer, or terminal of a conducting equipment (such as switch) where the measurement is located. Except for transformers, may be left unspecified (none).
Note on S4: Specifies if the value can be commanded (written), measured (read), or both.
Note on T4: A signal value (typically non-SCADA controlled) may be scheduled. Examples include public lights, capacitors, and regulating control settings that vary over time.
Note on U4: Specifies the referent direction of the measurement (typically active power). "Forward" means that the positive sign is when the power flows from the 1st terminal to the second, "Reverse" in the opposite direction, while "Undirected" means that the direction is unspecified.
Note on V4: Rated value (expected maximum) of the signal.
Note on W4: Minimum allowed setpoint (commanded value).
Note on X4: Maximum allowed setpoint (commanded value).
Note on Y4: Value of trust factor for this specific measurement. If -1, the default trust factor for measurements is used; otherwise, that value is overridden.
Note on Z4: Alarm limits applicable to this signal. If absent, no alarms and violations are reported.
Note on AA4: Physical device or other model resource being measured or controlled
Note on AB4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on AC4: Alarm raised when the value grows from the previous reading at a rate higher than the specified.
Note on AD4: Rate of variable growth [unit/second] at which a rate-of-growth alarm is raised.
Note on AE4: Alarm raised when the value drops from the previous reading at a rate higher than the specified.
Note on AF4: The rate of value drop [unit/second] at which a rate-of-change alarm appears.
Note on AG4: A flatline alarm is generated if the value change does not exceed the specified limit within a specified time period (timeout).
Note on AH4: Time period during which the value does not change, and the alarm is raised
Note on AI4: Creep alarm is generated when the value does change for more than the specified amount, compared to the setpoint.
Note on AJ4: Deadband of change after which the creep alarm is raised.
Note on AK4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on AL4: If set to Yes, remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on AM4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on AN4: Optional string describing an alternate name of the object.
Note on AO4: Specifies the kind of the value being transferred: analog (real), discrete (integer), or rate
Note on AP4: Multiplier applied to analog raw value to obtain engineering unit value. (egu = scaling*raw + intercept).
Note on AQ4: Offset added to analog raw value to obtain engineering unit value. (egu = scaling*raw + intercept)
Note on AR4: If true, signal/remote point is included in analog to digital calibration monitoring of RTU.
Note on AS4: timeout for command failure detection
Note on AT4: Type of select-before-operate mechanism used to command the device.
Note on AU4: Allowed tolerance [eng. units] between command and response values, in order to declare the command successful
Note on AV4: Input coordinate(s) on the RTU.
Note on AW4: If true, input point is used to report status of discrete or analog output point.
Note on AX4: Indicates the data type of output point value which will be sent to the remote unit (outstation).
Note on AY4: Output coordinate(s) on the RTU.
Note on AZ4: If true, rollover value of a counter is included when calculating accumulated value.
Note on BA4: Counter (accumulator) roll over value.
Note on BB4: Counter is reset with each acquisition cycle.
Note on BC4: Deadband processing is performed on the SCADA side rather than on the RTU. If true, Percent is permitted as deadband type along with Int32, Int16 and Float.
Note on BD4: Indicates that the deadband value is expressed in percent (only possible with local deadband check); otherwise, it is expressed in engineering units.
Note on BE4: Deadband data type.
Note on BF4: Value of the deadband, in percent or engineering units. If non-zero, signal value variations from the last processed value within the deadband are ignored.
Note on BG4: When the value magnitude is below this limit, it is interpreted as zero. Used to compensate low-value DC bias for older devices.
Note on BH4: Linear filter processing is performed.
Note on BI4: Constant (k) used for value smoothing in linear filter processing.

## DNP3_DiscreteAnalog
Signal Details | [22 empty] | Remote Points
DSIGNAL | [22 empty] | REMOTEPOINT | [17 empty] | APROCESSING
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | MEASUREMENT_TYPE | IDOBJ_AORGROUP | SIGNAL_DEVICEMAPPING | [7 empty] | DSIGNAL_TYPE | MEASUREMENT_PHASE | MEASUREMENT_SIDE | SIGNAL_DIRECTION | SIGNAL_ANNUALSCH | DSIGNAL_NORMALVALUE | DSIGNAL_MAPPING | DSIGNAL_DOMCATALOG | MEASUREMENT_PSR | IDOBJ_NAME | DELETE | IDOBJ_CUSTOMID | IDOBJ_ALIAS | REMOTEPOINT_TYPE | REMOTEPOINT_SCALING | REMOTEPOINT_INTERCEPT | REMOTEPOINT_ADCFAIL | REMOTEOUTPUT_CMDTIMEOUT | REMOTEOUTPUT_SBOMODE | REMOTEOUTPUT_SPTOL | REMOTEINPUTDNP3_INCOORDS¦REMOTEOUTPUTDNP3_INCOORDS | REMOTEINPUTDNP3_OUTREGISTER¦REMOTEOUTPUTDNP3_OUTREGISTER | AOUTPUTDNP3_OUTTYPE | REMOTEOUTPUTDNP3_OUTCOORDS | COUNTERDNP3_ENABLEROLLOVER | COUNTERDNP3_ROLLOVER | COUNTERDNP3_RESET | APROCESSING_LOCALDBCHECK | APROCESSING_USERELATIVEDB | APROCESSING_DEADBANDTYPE | APROCESSING_DEADBAND | APROCESSING_ZEROCLAMPINGDB | APROCESSING_LINEARFILTER | APROCESSING_LFFACTOR
Signal Name | Delete | Signal Alias | Signal Custom ID | Measurement Type | Signal AOR Group | Substation | Feeder | Feeder Object | Bank | Bay | Device | Device Mapping | Description | Signal Type | Phases | Side | Direction | Annual Schedule | Normal Value | Message Mapping | DOM Catalog | Remote Unit | Remote Point Name | Delete Remote Point | Remote Point Custom ID | Remote Point Alias | Remote Point Type | Scaling Factor | Intercept | ADC Fail | Command Timeout [s] | Commanding Mode | Setpoint Tolerance | Input Coordinates | Output Register | Output Data Type | Output Coordinates | Enable Rollover | Rollover Value | With Reset | Advanced Processing - Local Deadband Check | Advanced Processing - Use Relative Deadband | Deadband Type | Advanced Processing - Deadband | Advanced Processing - Zero Clamping Deadband | Advanced Processing - Apply Linear Filter | Advanced Processing - Linear Filter Factor
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes, both signal and remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Type of the measured quantity, and implied unit (A, kV, kW, Hz...)
Note on F4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on G4: Substation name used as a reference for signal mapping.
Note on H4: Feeder name used as a reference for signal mapping.
Note on I4: Feeder object name used as a reference for signal mapping.
Note on J4: Bank name used as a reference for signal mapping.
Note on K4: Bay name used as a reference for signal mapping.
Note on L4: Device name used as a reference for signal mapping.
Note on M4: Unique ID of the device to which signal is mapped.
Note on N4: Optional field for additional description (not included in telemetry data import).
Note on O4: Meaning of this signal, e.g. "Tap position" or "Switch status"
Note on P4: Measured phases, Unknown if not available/applicable
Note on Q4: Winding of a transformer, or terminal of a conducting equipment (such as switch) where the measurement is located. Except for transformers, may be left unspecified (none).
Note on R4: Specifies if the value can be commanded (written), measured (read), or both.
Note on S4: A signal value (typically non-SCADA controlled) may be scheduled. Examples include public lights, capacitors, and regulating control settings that vary over time.
Note on T4: Normal value of this signal. This value is used to initialize the dynamic model during "cold start" of the ADMS.
Note on U4: Describes properties of each possible discrete signal value.
Note on V4: Specifies properties of device operations monitoring (DOM) performed on this signal.
Note on W4: Physical device or other model resource being measured or controlled
Note on X4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on Y4: If set to Yes, remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on Z4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on AA4: Optional string describing an alternate name of the object.
Note on AB4: Specifies the kind of the value being transferred: analog (real), discrete (integer), or rate
Note on AC4: Multiplier applied to analog raw value to obtain engineering unit value. (egu = scaling*raw + intercept).
Note on AD4: Offset added to analog raw value to obtain engineering unit value. (egu = scaling*raw + intercept)
Note on AE4: If true, signal/remote point is included in analog to digital calibration monitoring of RTU.
Note on AF4: timeout for command failure detection
Note on AG4: Type of select-before-operate mechanism used to command the device.
Note on AH4: Allowed tolerance [eng. units] between command and response values, in order to declare the command successful
Note on AI4: Input coordinate(s) on the RTU.
Note on AJ4: If true, input point is used to report status of discrete or analog output point.
Note on AK4: Indicates the data type of output point value which will be sent to the remote unit (outstation).
Note on AL4: Output coordinate(s) on the RTU.
Note on AM4: If true, rollover value of a counter is included when calculating accumulated value.
Note on AN4: Counter (accumulator) roll over value.
Note on AO4: Counter is reset with each acquisition cycle.
Note on AP4: Deadband processing is performed on the SCADA side rather than on the RTU. If true, Percent is permitted as deadband type along with Int32, Int16 and Float.
Note on AQ4: Indicates that the deadband value is expressed in percent (only possible with local deadband check); otherwise, it is expressed in engineering units.
Note on AR4: Deadband data type.
Note on AS4: Value of the deadband, in percent or engineering units. If non-zero, signal value variations from the last processed value within the deadband are ignored.
Note on AT4: When the value magnitude is below this limit, it is interpreted as zero. Used to compensate low-value DC bias for older devices.
Note on AU4: Linear filter processing is performed.
Note on AV4: Constant (k) used for value smoothing in linear filter processing.

## CalculationCode
Calculation Code
CALCCODE
IDOBJ_NAME | DELETE | PSR_LOCATION | CALCCODE_SHARED | CALCCODE_ROUTINE
Name | Delete | Description | Shared | Code
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then Calculation Code shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional human-readable notes regarding physical location or other properties of the resource
Note on D4: Specifies that the code can be invoked from other codes as a subroutine (but cannot be used from base calculations).
Note on E4: Body of the calculation to be executed, in valid C# language.

## CalculationParameter
Calculation Parameters
CALCPARAM
IDOBJ_NAME | CALCARG_PARAMTYPE | CALCARG_ISOUTPUT | CALCARG_CALCULATION
Name | Data Type | Output | Calculation
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: Data type of the parameter
Note on C4: Specifies that the value is an output from the calculation, and as such used to generate the signal value
Note on D4: A calculation configuration or calculation code which references this argument.

## Calculations
Calculation
CALCULATION
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_AORGROUP | EQUIPMENT_CONT |  | CALCULATION_TIMEOUT | CALCULATION_CODE | CALCULATION_SCHEDULE
Name | Delete | Alias | AOR Group | Container Name | Container Custom ID | Execution Timeout [s] | Code Name | Schedule
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then Calculation shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on E4: Name of the container where calculation shall reside upon telemetry data import.
Note on F4: Custom ID of the container where calculation shall reside upon telemetry data import.
Note on G4: Allowed time for calculation completion, after which it will be marked as failed (if it did not succeed to execute in this time frame).
Note on H4: A reference to the calculation routine performing the calculation, if the type is Custom.
Note on I4: Reference to a schedule which determines time of calculation execution.

## ConstantCalculationArgument
Calculation Arguments
CALCCONSTARG
CALCARG_CALCULATION | CALCARG_PARAM | CALCCONSTARG_STRING
Calculation | Calculation Parameter | Value
Note on A4: A calculation configuration or calculation code which references this argument.
Note on B4: A name of parametar used in calculation code configuration which coresponnds to the argument.
Note on C4: A value(boolean, float, integer or string) which is a constant input to a calculation.

## SignalCalculationArgument
Signal Calculation Arguments
CALCSIGNALARG
CALCARG_CALCULATION | CALCARG_PARAM | CALCSIGNALARG_SIGNAL | CALCSIGNALARG_INPUTTRIGGER | CALCSIGNALARG_DEADBAND
Calculation | Calculation Parameter | Signal Custom ID | Input Trigger | Deadband
Note on A4: A calculation configuration or calculation code which references this argument.
Note on B4: A name of parametar used in calculation code configuration which coresponnds to the argument.
Note on C4: Unique identifier (Custom ID) of the signal which participates in the calcualtion.
Note on D4: Specifies how the change of an input argument triggers re-calculation
Note on E4: An oscillation of a signal value, inside which a calculation will not be triggered. Settable only if a input change trigger is "Value" or "Both"