## Info
File name: | Telemetry Data Template File
File created: | 06/08/2026 14:20:01
User: | rgeprod\cesar.augusto
Location(s):
Document Number:
Revision:
Legend
DMSMatchingTemplateInfo | Sheet containing supported ADMS types and attributes
RTUs | Configuration of Remote Terminal Units, Terminal Servers and Modem Banks
CommLInks | Configuration of TCP/IP based communication links
Modem | Modem configuration
ModemLinks | Configuration of Modem Links
DiscreteSignals | Configuration of discrete signals attached to a discrete type of remote points
AnalolgSignals | Configuration of analog signals attached to analog or rate (accumulator) type of remote points
Discrete-AnalogSignalTypes | Configuration of discrete signals attached to a analog or rate (accumulator) point type of remote poins (e.g. tap position signal types)
ScanGroups | Scan group configuration typical for serial based protocols (DNP3, VanComm, Series5...)
ICCP_RemoteControlCenters | Configuration of ICCP Remote Control Centers
ICCP_DataSetTransferSet | Configuration of ICCP Data Sets Transfer Sets
ICCP_NetworkConfigurationInfo | Configuration of network and security parameters for communication with the RCC
ServerDiscreteSignals | List of discrete signals served to the remote control center or SCADA master
ServerAnalogSignals | List of analog signals served to the remote control center or SCADA master
Note Catalog | Configuration of applicable types of note cataogs
Alarm Catalog | Configuration of Alarm catalog e.g. alarm text, alarm cause, priority (severity)
Event Catalog | Configuration of Event catalog e.g. event text, priority (severity)
Alarm Limits | Configuration of Alarm Limits for a specific measurement type, including reasonability checks and references to return-to-normal and high/low alarm limit catalogs
Limit Sets | Configuration of applicable limit sets and deadbands associated with an Alarm Limit
Tag Catalog | Configuration of applicable types of tags within the utility
Message Mappings | Message Mapping configuration - mapping of each possible discrete signal value (state) to a text message and alarm catalog associated with the state
DOM Catalog | Device operation monitoring - specifies criteria for alarm generation based on monitoring of cumulative switchgear operations

## DMSMatchingTemplateInfo (hidden)
YesNo | TrueFalse | AlarmEventCause | AlarmSeverity | MeasurementType | TagSemantics | DMSType | DiscreteSignalType | AbnormalState | PhaseCode | WindingType | SignalDirection | AnalogSignalType | UnitSymbol | FlowDirection | RemoteUnitType | TimeZone | RedundancyBehaviorType | SOEGroup | ProtocolTypeConitel | ScanTypeConitel | RemotePointType | OperateType | DiscreteInputTypeConitel | SectionConitel | DiscreteOutputDataTypeConitel | CommandTypeConitel | FunctionCodeConitel | AnalogInputTypeConitel | DeadbandDataType | DNP3Scan | TimeSyncMode |  | DNP3ConfirmMode | DNP3ObjectGroup | DNP3InputType | DNP3OutputType | ControlCode | DNP3Variation | DNP3SlaveEvent | DNP3SlaveDiscreteInputDataType | DNP3SlaveClassData | DNP3SlaveAnalogInputDataType | DNP3SlaveCounterDataType | IccpVersion | IccpBlocks | ConnectionRole | ServiceRole | AuthenticationMode | DstsType | IccpScope | IccpDataValueType | IECCounterInterrogationType | IECClockSyncMode | OctetSize | IEC101LinkMode | IEC101ConfirmMode | ModemCallType | ModemCommandType | BaudRate | IECDiscreteType | IECCommandQualifier | CommandState | IECAnalogType | IECRateType | ScanTypeMD3 | DiscreteInputModuleTypeMD3 | DiscreteInputDataTypeMD3 | DiscreteOutputTypeMD3 | DiscreteOutputDataTypeMD3 | CmdTypeMD3 | AnalogInputModuleTypeMD3 | AnalogInputDataTypeMD3 | AnalogOutputTypeMD3 | ModbusByteOrder | ModbusTransmissionMode | ModbusRegisterType | ModbusDiscreteOutputType | ModbusAnalogType | SecurityCodeSeries5 | ScanTypeSeries5 | DiscreteTypeSeries5 | ScanTypeVanComm | DiscreteInputTypeVanComm | DiscreteOutputTypeVanComm | AnalogTypeVanComm | CalculationParamType | InputTriggerType | RemoteUnitType | OperateType | RemotePointType | RemotePointType | RemotePointType | SignalDirection | MeasurementType | RemotePointType | OperateType | DNP3InputType | RemotePointType | OperateType | RemotePointType | SignalDirection | OperateType | MeasurementType | RemotePointType | OperateType | RemotePointType | OperateType | RemoteUnitType | RemoteUnitType | RemotePointType | IccpDataValueType | RemotePointType | IccpDataValueType | RemotePointType | SignalDirection | IccpDataValueType | MeasurementType | IccpDataValueType | IccpDataValueType | RemoteUnitType | OctetSize | OctetSize | OctetSize | OctetSize | BaudRate | OctetSize | RemotePointType | IECDiscreteType | IECDiscreteType | RemotePointType | IECAnalogType | RemotePointType | SignalDirection | MeasurementType | IECAnalogType | RemotePointType | IECDiscreteType | IECDiscreteType | RemotePointType | IECAnalogType | RemoteUnitType | OctetSize | RemoteUnitType | RemotePointType | IECDiscreteType | IECDiscreteType | RemotePointType | IECAnalogType | IECAnalogType | RemotePointType | SignalDirection | IECAnalogType | IECAnalogType | MeasurementType | RemotePointType | RemotePointType | RemotePointType | SignalDirection | MeasurementType | RemotePointType | RemotePointType | ModbusRegisterType | RemotePointType | SignalDirection | ModbusRegisterType | MeasurementType | RemotePointType | RemotePointType | RemotePointType | SignalDirection | MeasurementType | RemotePointType | RemotePointType | RemotePointType | SignalDirection | MeasurementType | CalculationParamType
No | TRUE | ApplicationAlarm | Severidade 16 | Unitless | DoNotOperatorClose | SUBSTATION | Custom | Normal | Unknown | None | Read | Custom | Default | Undirected | RTU | (UTC-12:00) International Date Line West | PrioritizeCostFactor | Group07 | Conitel2025 | Scan | Analog | DirectOperate | SingleBit | SectionA | SingleCoord | TripClose | Trip | TwelveBitSignedMagnitude | Int32 | Class0 | LAN | None | Never | BinaryInput | SingleBit | SingleCoord | Nul | Empty | WithoutTime | BinaryInputPackedFormat | Class1 | Int32WithFlag | Int32WithFlag | Version1996 | Block1 | Outgoing | Client | None | ManualRBE | Vcc | Unknown | CounterRead | SyncOnly | OneOctet | Unbalanced | Sometimes | DialOut | BaudRate | B100 | IECNone | UseDefault | On | IECShortNormalized | IECRateTimestamp | AnalogUnconditional | DigitalInputModuleDCM | SingleBit | RaiseLower | SingleCoord | Trip | AnalogInputModule | TwelveBitSignedMagnitude | AOMType | LittleEndian | TCP | Coil | SingleCoord | Short | LRC8bit | ExceptionScan | SingleCoord | AnalogScan | MomentaryStatus | SingleCoord | Signed | Bool | None | RTU | DirectOperate | Status | Analog | Analog | Read | Discrete | Status | DirectOperate | SingleBit | Analog | DirectOperate | Analog | Read | DirectOperate | Discrete | Status | DirectOperate | Analog | DirectOperate | ControlCenter | ControlCenter | Status | State | Analog | Real | Analog | Read | Real | Discrete | State | Real | RTU | OneOctet | OneOctet | OneOctet | OneOctet | B9600 | OneOctet | Status | IECSingleBit | IECSingleBit | Analog | IECShortNormalized | Analog | Read | Discrete | IECShortNormalized | Status | IECSingleBit | IECSingleBit | Analog | IECShortNormalized | RTU | OneOctet | RTU | Status | IECSingleBit | IECSingleBit | Analog | IECShortNormalized | IECShortNormalized | Analog | Read | IECShortNormalized | IECShortNormalized | Discrete | Status | Analog | Analog | Read | Discrete | Status | Analog | Coil | Analog | Read | Coil | Discrete | Status | Analog | Analog | Read | Discrete | Status | Analog | Analog | Read | Discrete | Bool
Yes | FALSE | DiscreteState | Severidade 15 | Voltage | DoNotOperatorOpen | BAY | SwitchStatus | Abnormal | N | Primary | Write | MeasuredValue | kV | Forward | SubstationControlSystem | (UTC-11:00) Coordinated Universal Time-11 | SwitchOnFirstRTUFailure | Group8F | Baker | SOEScan | Status | SelectWithValue | SingleBitMCDA | SectionB | TwoCoord | RaiseLower | Close | TwelveBitSignedTwoComplement | Int16 | Class0123 | Serial | Diagnostic | Sometimes | BinaryInputEvent | DoubleBit | MultiCoord | PulseOn | Int32 | WithAbsoluteTime | BinaryInputWithFlags | Class2 | Int16WithFlag | Int16WithFlag | Version2000 | Block2 | Incoming | Server | Mace | ManualInterval | Icc | Real | CounterFreezeWithReset | LoadDelay | TwoOctets | Balanced | Always | DialIn | TelephoneNumber | B200 | IECSingleBit | ShortPulse | Off | IECShortScaled | IECRateShortTimestamp | AnalogDeltaScan | DigitalInputModule | MultiBit | POMType | TwoCoord | Close | FloatingPointModule | TwelveBitSignedTwoComplement | InputPointControl | BigEndian | ASCII | DiscreteInput | TwoCoords | UShort | CRC16bit | StatusScan | DoubleCoord | AllStatusScan | MemoryStatus | DoubleCoord | Unsigned | Int | Value | TerminalServer | AutoSelectWithValue |  | Counter | Counter |  |  |  | AutoSelectWithValue | DoubleBit | Counter | AutoSelectWithValue | Counter |  | AutoSelectWithValue |  |  | AutoSelectWithValue | Counter | AutoSelectWithValue | DSTS | DSTS |  | Discrete | Counter | RealQuality | Counter |  | RealQuality |  | Discrete | RealQuality | ModemBank | TwoOctets | TwoOctets | TwoOctets | TwoOctets |  | TwoOctets |  | IECDoubleBit | IECDoubleBit | Counter | IECShortScaled | Counter |  |  | IECShortScaled |  | IECDoubleBit | IECDoubleBit | Counter | IECShortScaled |  | TwoOctets |  |  | IECDoubleBit | IECDoubleBit | Counter | IECShortScaled | IECShortScaled | Counter |  | IECShortScaled | IECShortScaled |  |  | Counter | Counter |  |  |  | Counter | HoldingRegister | Counter |  | HoldingRegister |  |  | Counter | Counter |  |  |  | Counter | Counter |  |  | Int
|  | AnalogHigh | Severidade 14 | Current | DoNotAutoClose | BASEVOLTAGE | Local | Auto | C | Secondary | ReadWrite | ControlSetValue | V | Reverse | ControlCenter | (UTC-10:00) Aleutian Islands | SwitchOnAllRTUFailure |  |  |  | Counter | SelectWithoutValue | MultiBit |  | MultiCoord |  | Raise | SixBitUnsigned | Float | ScanTable |  | Type2 | Always | DoubleBinaryInput | MultiCoord |  | PulseOff | Int16 | WithRelativeTime | DoubleBitBinaryInputPackedFormat | Class3 | Int32WithoutFlag | Int32WithoutFlag |  | Block3 |  | Peer | SSL | AutoAll |  | State | CounterFreezeWithoutReset | DelayAcq | ThreeOctets |  | Never |  | Command | B300 | IECDoubleBit | LongPulse |  | IECFloat | IECRate | DigitalCOSTimeTagged |  | MultiBitBCD | DOMType | MultiCoord | Raise | AnalogInputModuleDCM | TwelveBitUnsigned | FloatingPointOP |  | RTU | InputRegister | MultiCoord | Int32 |  | AnalogScan | MultiCoord | MomentaryStatusScan | LatchingStatus | MultiCoord |  | Double | Flags | [8 empty] | DirectNoAck | MultiCoord |  | DirectNoAck |  |  | DirectNoAck |  |  | DirectNoAck |  | DirectNoAck |  |  |  | StateSupp |  | RealQualityTimeTag |  |  | RealQualityTimeTag |  | StateSupp | RealQualityTimeTag | TerminalServer |  |  |  | Undefined |  | Undefined |  | IECStepPosition | IECStepPosition |  | IECFloat |  |  |  | IECFloat |  | IECStepPosition | IECStepPosition |  | IECFloat |  |  |  |  | IECStepPosition | IECStepPosition |  | IECFloat | IECFloat |  |  | IECFloat | IECFloat | [23 empty] | Double
|  | AnalogLow | Severidade 13 | ActivePower | DoNotAutoOpen | NETWORKINFO | OperationCount |  | CN | Tertiary |  | ControlBandwidth | mV |  | IED | (UTC-10:00) Hawaii | CostFactorWithAvailabilityCheck |  |  |  | SmartMeter | AutoSelectWithValue | MultiBitBCD |  |  |  | Lower | TwelveBitUnsigned |  |  |  | Type1 |  | DoubleBinaryInputEvent | MultiCoordBCD |  | LatchOn | Float |  | DoubleBitBinaryInputWithFlags | None | Int16WithoutFlag | Int16WithoutFlag |  | Block4 |  |  |  | AutoReal |  | Discrete | CounterReset |  | Undefined |  |  |  | Delay | B600 | IECStepPosition | Persistent |  | IECShortNormalizedTimestamp |  | DigitalUnconditional |  |  | InputPointControl |  | Lower |  | FloatingPoint |  |  |  | HoldingRegister |  | UInt32 |  | SetpointScan |  | MemoryStatusScan | Multibit | RaiseLower |  | String | Timestamp | [23 empty] | StateQuality |  | RealExtended |  |  | RealExtended |  | StateQuality | RealExtended | [8 empty] | IECBitstring | IECBitstring | [7 empty] | IECBitstring | IECBitstring | [6 empty] | IECBitstring | IECBitstring |  | IECShortNormalizedTimestamp | IECShortNormalizedTimestamp |  |  | IECShortNormalizedTimestamp | IECShortNormalizedTimestamp | [23 empty] | String

## AlarmCatalog
Alarm Catalog
ALARMEVENTC
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | ALARMEVENTC_DOALARM | ALARMEVENTC_TEXT | ALARMEVENTC_INFO | ALARMEVENTC_DELAY | ALARMEVENTC_ESCALATION | ALARMEVENTC_CAUSE | ALARMEVENTC_SEVERITY | ALARMEVENTC_ESCALATEDSEVERITY | ALARMEVENTC_AUTOACKRTN
Name | Delete | Alias | Custom ID | Do alarm | Text | Alarm Information | Delay [s] | Escalation Timeout [s] | Cause | Severity | Escalated Severity | Auto Acknowledge RTN
Alarme de Estado em Ponto Telessinalizado SB Temporizado |  | ALESTS SB Temporizado | 25f438c3-fe49-4b9e-a52f-39ee48ce83cf | TRUE | ALESTS - {1} [] | Alarme de Estado em Ponto Telessinalizado SB Temporizado 180s | 180 | 0 | DiscreteState | Severidade 7 | Severidade 16 | FALSE
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then catalog shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Specifies that an alarm should be generated
Note on F4: Text of the alarm or event, as displayed on the operator's Alarm or Event Summary. The text may contain parametrizable fields, enclosed in braces ({0}, {1}), whose meaning depends on the application issuing the alarm.
Note on G4: Additional alarm information, e.g. alarm description, possible alarm causes, recommended operator steps to properly handle alarm situation.
Note on H4: Delay, in seconds, between detection of the alarm condition and occurrence of alarm.
Note on I4: Timeout, in seconds, between operator's acknowledgment of the alarm and its re-appearance if the condition persists.
Note on J4: Specifies which kind of event causes this alarm or event.
Note on K4: Severity of the alarm.
Note on L4: Alarm severity to which alarm escalates once escalation timeout has elapsed.
Note on M4: Indicates if return-to-normal alarms are automatically acknowledged and thus removed from the system.

## AlarmLimits
Alarm Limits
ANALOGALARMLIMITS | [6 empty] | SIGNALVALUEALARM
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | ANALOGALMLIMITS_MEASTYPE | ANALOGALMLIMITS_MINEGU | ANALOGALMLIMITS_MAXEGU | SIGNALVALUEALARM_USEDINCREEP | SIGNALVALUEALARM_USEDINFLATLINE | SIGNALVALUEALARM_USEDIN2 | SIGNALVALUEALARM_USEDIN1
Name | Delete | Alias | Custom ID | Measurement Type | Min. Reasonable Value | Max. Reasonable Value | Reasonability Check Alarm Catalog | Return-To-Normal Alarm Catalog | Low Limit Catalog | High Limit Catalog
I_315@null_null@null_Distr |  |  | f7db84be-eac9-4275-96dd-5526dc0025c4 | Current | -3.4028e+38 | 3.4028e+38 |  | Retorno do Dado do Limite sem Alarme |  | Alarme Prioritario de Dado a 90% do Limite Superior com Temporização
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then catalog shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Specifies the measurement type in which the element limits are expressed.
Note on F4: Minimum plausible value of the signal value in default engineering units for given measurement type.
Note on G4: Maximum plausible value of the signal value in default engineering units for given measurement type.
Note on H4: Reference to Reasonability alarm/event catalog.
Note on I4: Reference to Return-to-Normal alarm/event catalog.
Note on J4: Reference to a list of alarms associated with low limit violations, in rising order of severity (decreasing order of value).
Note on K4: Reference to a list of alarms associated with high limit violations, in rising order of severity.

## LimitSets
Limit Set
LIMITSET
LIMITSET_DYNAMICRATING | IDOBJ_NAME | LIMITSET_LOWLIMITVALUES | LIMITSET_LOWDEADBAND | LIMITSET_LIMITVALUES | LIMITSET_HIGHDEADBAND
Alarm Limit | Name | Low Limits | Low Limit Deadbands | High Limits | High Limit Deadbands
I_315@null_null@null_Distr | Default |  |  | 315 | 0.1575
Note on A4: Reference to an Alarm Limit set.
Note on B4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on C4: Values of "low" alarm limits (an alarm is raised when the value falls below this limit).
Note on D4: Dead band around the low limit values to be exceeded in order to raise an alarm.
Note on E4: Values of "high" alarm limits (an alarm is raised when the value exceeds this limit).
Note on F4: Dead band below the high limit value to be exceeded in order to return the alarm to normal.

## MessageMappings
Message Mapping
MESSAGEMAPPING | [10 empty] | SIGNALVALUEALARM
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | MESSAGEMAPPING_MESSAGES | MESSAGEMAPPING_VALUES | MESSAGEMAPPING_SCADAVALUES | MESSAGEMAPPING_CMDMESSAGES | MESSAGEMAPPING_COLORS | MESSAGEMAPPING_ABNORMAL | MESSAGEMAPPING_OVERRIDABLE | SIGNALVALUEALARM_USEDIN1
Name | Delete | Alias | Custom ID | Messages | Values | SCADA Values | Commanding Messages | Colors | Abnormal Status | Overridable | Alarm Catalog
null@null___NORMAL@ATUADO___Custom_S_TS_SB |  |  | df150184-40aa-49e4-8676-b36b56adfffc | Transit;NORMAL;ATUADO;Error | 0;1;2;3 | 2;0;1;3 | ;;; | #FF000000;#FF00FF00;#FFFF0000;#FFA9A9A9 | Abnormal;Normal;Abnormal;Abnormal | FALSE;TRUE;TRUE;FALSE | Alarme de Estado em Ponto Telessinalizado SB Temporizado;Alarme de Estado em Ponto Telessinalizado SB Temporizado;Alarme de Estado em Ponto Telessinalizado SB Temporizado;Alarme de Estado em Ponto Telessinalizado SB Temporizado
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then catalog shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: List of strings associated with possible values, in the same order as Values. An empty string denotes that the corresponding value cannot occur as read from the field (i.e. may be used only for commanding).
Note on F4: List of possible values that the signal can take.
Note on G4: Integer values in SCADA which correspond to DMS values in values attribute. SCADA plugin does the translation in both directions. If empty, no translation is perfomed, and SCADA values are translated as-is.
Note on H4: List of strings associated with possible values, used for commanding, in the same order as Values. If the value is not commandable, an empty string is used.
Note on I4: List of color indexes associated with every possible state
Note on J4: For each value in the list, specifies if it is treated as abnormal.
Note on K4: Specifies whether every possible value can be entered as manual override.
Note on L4: Reference to a list of alarms associated with high limit violations, in rising order of severity.

## ManualDiscreteSignals
Signal Details
DSIGNAL
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | MEASUREMENT_PSR |  | IDOBJ_AORGROUP | SIGNAL_DEVICEMAPPING | [7 empty] | DSIGNAL_TYPE | MEASUREMENT_TYPE | MEASUREMENT_PHASE | MEASUREMENT_SIDE | SIGNAL_DIRECTION | SIGNAL_ANNUALSCH | DSIGNAL_MAPPING | DSIGNAL_NORMALVALUE | DSIGNAL_DOMCATALOG
Signal Name | Delete | Signal Alias | Signal Custom ID | Device Name | Device Custom ID | Signal AOR Group | Substation | Feeder | Feeder Object | Bank | Bay | Device | Device Mapping | Description | Signal Type | Measurement Type | Phases | Side | Direction | Annual Schedule | Message Mapping | Normal Value | DOM Catalog
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to 'Yes', signal is going to be deleted from SCADA database upon telemetry data import. If set to 'No' or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Name of the device (or container) where signal shall reside upon telemetry data import.
Note on F4: Custom ID of the device (or container) where signal shall reside upon telemetry data import.
Note on G4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on H4: Substation name used as a reference for signal mapping.
Note on I4: Feeder name used as a reference for signal mapping.
Note on J4: Feeder object name used as a reference for signal mapping.
Note on K4: Bank name used as a reference for signal mapping.
Note on L4: Bay name used as a reference for signal mapping.
Note on M4: Device name used as a reference for signal mapping.
Note on N4: Unique ID of the device to which signal is mapped.
Note on O4: Optional field for additional description (not included in telemetry data import).
Note on P4: Meaning of this signal, e.g. "Tap position" or "Switch status"
Note on Q4: Type of the measured quantity, and implied unit (A, kV, kW, Hz...)
Note on R4: Measured phases, Unknown if not available/applicable
Note on S4: Winding of a transformer, or terminal of a conducting equipment (such as switch) where the measurement is located. Except for transformers, may be left unspecified (none).
Note on T4: Specifies if the value can be commanded (written), measured (read), or both.
Note on U4: A signal value (typically non-SCADA controlled) may be scheduled. Examples include public lights, capacitors, and regulating control settings that vary over time.
Note on V4: Describes properties of each possible discrete signal value.
Note on W4: Normal value of this signal. This value is used to initialize the dynamic model during "cold start" of the ADMS.
Note on X4: Specifies properties of device operations monitoring (DOM) performed on this signal.

## ManualAnalogSignals
Signal Details
ASIGNAL | [27 empty] | ADVALMLIMITS
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | MEASUREMENT_PSR |  | IDOBJ_AORGROUP | SIGNAL_DEVICEMAPPING | [7 empty] | ASIGNAL_TYPE | MEASUREMENT_TYPE | MEASUREMENT_UNIT | MEASUREMENT_PHASE | MEASUREMENT_SIDE | SIGNAL_DIRECTION | SIGNAL_ANNUALSCH | ASIGNAL_FLOWDIRECTION | ASIGNAL_RATEDVALUE | ASIGNAL_MINSETPOINT | ASIGNAL_MAXSETPOINT | ASIGNAL_TRUST | ASIGNAL_ALARMLIMITS | IDOBJ_NAME | ADVALMLIMITS_ROCALARMGROWTH | ADVALMLIMITS_ROCLIMITGROWTH | ADVALMLIMITS_ROCALARMDROP | ADVALMLIMITS_ROCLIMITDROP | ADVALMLIMITS_FLATLINEALARM | ADVALMLIMITS_FLATLINETIMEOUT | ADVALMLIMITS_CREEPALARM | ADVALMLIMITS_CREEPDEADBAND
Signal Name | Delete | Signal Alias | Signal Custom ID | Device Name | Device Custom ID | Signal AOR Group | Substation | Feeder | Feeder Object | Bank | Bay | Device | Device Mapping | Description | Signal Type | Measurement Type | Display Unit | Phases | Side | Direction | Annual Schedule | Flow Direction | Rated Value | Min. Setpoint | Max. Setpoint | Trust Factor | Alarm Limits | Advanced Alarms - Name | Advanced Alarms - Rate-Of-Growth Alarm | Advanced Alarms - Rate-Of-Growth Limit | Advanced Alarms - Rate-Of-Drop Alarm | Advanced Alarms - Rate-Of-Drop Limit | Advanced Alarm - Flatline Alarm | Advanced Alarm - Flatline Timeout [s] | Advanced Alarm - Creep Alarm | Advanced Alarm - Creep Deadband
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes, both signal and remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Name of the device (or container) where signal shall reside upon telemetry data import.
Note on F4: Custom ID of the device (or container) where signal shall reside upon telemetry data import.
Note on G4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on H4: Substation name used as a reference for signal mapping.
Note on I4: Feeder name used as a reference for signal mapping.
Note on J4: Feeder object name used as a reference for signal mapping.
Note on K4: Bank name used as a reference for signal mapping.
Note on L4: Bay name used as a reference for signal mapping.
Note on M4: Device name used as a reference for signal mapping.
Note on N4: Unique ID of the device to which signal is mapped.
Note on O4: Optional field for additional description (not included in telemetry data import).
Note on P4: Meaning of this signal, e.g. "Set point" or "Measured value"
Note on Q4: Type of the measured quantity, and implied unit (A, kV, kW, Hz...)
Note on R4: Engineering unit in which the value is displayed to the operator.
Note on S4: Measured phases, Unknown if not available/applicable
Note on T4: Winding of a transformer, or terminal of a conducting equipment (such as switch) where the measurement is located. Except for transformers, may be left unspecified (none).
Note on U4: Specifies if the value can be commanded (written), measured (read), or both.
Note on V4: A signal value (typically non-SCADA controlled) may be scheduled. Examples include public lights, capacitors, and regulating control settings that vary over time.
Note on W4: Specifies the referent direction of the measurement (typically active power). "Forward" means that the positive sign is when the power flows from the 1st terminal to the second, "Reverse" in the opposite direction, while "Undirected" means that the direction is unspecified.
Note on X4: Rated value (expected maximum) of the signal.
Note on Y4: Minimum allowed setpoint (commanded value).
Note on Z4: Maximum allowed setpoint (commanded value).
Note on AA4: Value of trust factor for this specific measurement. If -1, the default trust factor for measurements is used; otherwise, that value is overridden.
Note on AB4: Alarm limits applicable to this signal. If absent, no alarms and violations are reported.
Note on AC4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on AD4: Alarm raised when the value grows from the previous reading at a rate higher than the specified.
Note on AE4: Rate of variable growth [unit/second] at which a rate-of-growth alarm is raised.
Note on AF4: Alarm raised when the value drops from the previous reading at a rate higher than the specified.
Note on AG4: The rate of value drop [unit/second] at which a rate-of-change alarm appears.
Note on AH4: A flatline alarm is generated if the value change does not exceed the specified limit within a specified time period (timeout).
Note on AI4: Time period during which the value does not change, and the alarm is raised
Note on AJ4: Creep alarm is generated when the value does change for more than the specified amount, compared to the setpoint.
Note on AK4: Deadband of change after which the creep alarm is raised.

## IEC104_RTUs
IEC104 Main Remote Unit
RTUIEC104 | [43 empty] | COMMCHANNELIEC104
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | IDOBJ_AORGROUP | PSR_LOCATION | EQUIPMENT_CONT |  | RTU_TYPE | RTU_TIMEZONE | RTU_USEDST | RTU_ENABLETIMEOFFSET | RTU_TIMEOFFSETPAST | RTU_TIMEOFFSETFUTURE | RTU_ENABLECMDQUEUEING | RTU_INITIALPOLL | RTU_INITSEQUENCERETRYPERIOD | RTU_WATCHDOGTIMEOUT | RTU_REDUNDANCYBEHAVIOR | REMOTETERMINALUNIT_LISTENONLYMODE | REMOTETERMINALUNIT_POLLCYCLE | REMOTETERMINALUNIT_PERIODICPOLL | REMOTETERMINALUNIT_FASTPOLLING | REMOTETERMINALUNIT_FASTTIMEOUT | REMOTETERMINALUNIT_REQTIMEOUT | REMOTETERMINALUNIT_COMMRETRIES | REMOTETERMINALUNIT_SCANAFTERCMD | REMOTETERMINALUNIT_CMDSCANDELAY | REMOTETERMINALUNIT_SCANAFTERUCOS | RTUIEC_ASDU | RTUIEC_PERIODICCLOCKSYNC | RTUIEC_GITIMEOUT | RTUIEC_PERIODICCI | RTUIEC_CITYPE | RTUIEC_CICYCLE | RTUIEC_USEACTTERMONDISCRETEPOINTS | RTUIEC_CLOCKSYNCCYCLE | RTUIEC_USEACTTERMONANALOGPOINTS | RTUIEC_PERIODICTEST | RTUIEC_TESTCYCLE | RTUIEC104_CLOCKSYNC | RTUIEC104_INITIALCI | RTUIEC104_ENDINITWAIT | RTUIEC104_USEBROADCASTININIT | COMMCHANNEL_FRONTEND | COMMCHANNELIEC104_KVALUE | COMMCHANNELIEC104_WVALUE | COMMCHANNELIEC104_COTLENGTH | COMMCHANNELIEC104_T1ACKPERIOD | COMMCHANNELIEC104_T2SFRAMEPERIOD | COMMCHANNELIEC104_T3TESTPERIOD | COMMCHANNELIEC104_ORIGINATORADDRESS | COMMCHANNELIEC104_USETLS | COMMCHANNELIEC104_TLS
Remote Unit | Delete | Remote Unit Alias | Remote Unit Custom ID | Remote Unit AOR Group | Remote Unit Description | Container Name | Container Custom ID | Remote Unit Type | Time Zone | DST-Aware | Enable Time Offset | Time Offset Past [s] | Time Offset Future [s] | Enable Signal Command Queuing | Enable Initial Integrity Scan | Initial Sequence Retry Period | Watchdog Timeout [s] | Redundancy Behavior | Listen-Only Mode | Scan Cycle [s] | Enable Periodic Scan | Fast-Scan Period [s] | Fast-Scan Timeout [s] | Request Timeout [s] | Command Attempts | Scan After Command | Scan Delay [s] | Scan After Uncommanded Change | ASDU Address | Enable Periodic Clock Sync | Scan Request Timeout [s] | Enable Periodic Counters Scan | Counters Interrogation Type | Counters Scan Cycle [s] | Use ActTerm on Discrete Points | Periodic Clock Sync Cycle [s] | Use ActTerm on Analog Points | Enable Periodic Test | Test Cycle [s] | Enable Initial Clock Sync | Enable Initial Counter Scan | End of Init Wait Period [s] | Enable Initial Broadcast Scan | Front-End Name | K | W | CauseOfTransmission Length | T1 [s] | T2 [s] | T3 [s] | Originator Address | Use TLS | TLS Catalog
Note on A4: This field defines name of the RTU.
Note on B4: If set to Yes then RTU/Terminal Server shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on F4: Optional human-readable notes regarding physical location or other properties of the resource
Note on G4: The lowest-level container that contains this piece of equipment e.g., substation, bay, feeder.
Note on H4: A project-specific container Id, typically used as an indetifier
Note on I4: Type of remote unit.
Note on J4: String that uniquely identifies the time zone where the Remote resides. If empty, it is presumed to be the same as front-end processor time zone.
Note on K4: Indicates that the RTU uses daylight saving time in its timestamps. If true, the timeZone attribute should specify a non-DST zone.
Note on L4: Enable time offset functionality.
Note on M4: Lower limit of maximum tolerable time difference between ADMS time and RTU time.
Note on N4: Upper limit of maximum tolerable time difference between ADMS time and RTU time.
Note on O4: Indicates that all pending commands will be executed sequentially, with every new command waiting the previous one to get completed.
Note on P4: Indicates whether initial integrity scan is enabled
Note on Q4: Represents delay time before the system retries to perform initial sequence.
Note on R4: Remote points are marked with stale indicator if their value is not acquired longer than the Watchdog Timeout period.
Note on S4: Defines in automatic mode which of the configured links is going to be preferred.
Note on T4: Commanding is disabled on the entire remote unit, and only point reading is performed
Note on U4: Periodic scan cycle [s].
Note on V4: Indicates that periodic scan is enabled
Note on W4: Fast-Scan period [s], RTU GI command is issued every period. Must be less or equal to the Fast-Scan timeout.
Note on X4: Determines how long the fast-scan mode is switched on [s].
Note on Y4: Maximum time at which the remote responds to a request (such as selection).
Note on Z4: Number of attempts of the same command before moving to the next command.
Note on AA4: Scan action is performed after each command on the remote unit, following the configured delay.
Note on AB4: Delay in seconds [s] to begin scan after commanded or un-commanded change.
Note on AC4: Scan action is performed after each uncommanded change on the remote unit, following the configured delay.
Note on AD4: IEC104 slave identifier - ASDU address
Note on AE4: Indicates whether periodic clock sync is enabled.
Note on AF4: Timeout for the remote to respond to a scan (general interrogation) request
Note on AG4: Indicates whether periodic scan of counters should be performed.
Note on AH4: IEC counter interrogation type.
Note on AI4: Scanning period [s] for scan (interrogation) of counters
Note on AJ4: Indicates using ActTerm to conclude if command on discrete point is successfully issued.
Note on AK4: Periodic cycle for issuing clock sync command.
Note on AL4: Use ActTerm mechanism to conclude if command on analog point is successfully issued.
Note on AM4: Indicates whether periodic test command is enabled.
Note on AN4: Periodic cycle for issuing test remote command. It is used for checking whether connection with RTU is still active. Utilization of test cycle is dependent on enablePeriodicTest property.
Note on AO4: Indicates if a clock synchronization should be performed during remote initialization
Note on AP4: Indicates whether counter-interrogation should be performed on initialization.
Note on AQ4: Waiting period for end of initialization message, expected from RTU, defined in seconds.
Note on AR4: Initial broadcast scan should be performed upon establishment of a connection
Note on AS4: Name of the front-end processor that will own the channel and process all the communication through it.
Note on AT4: Maximum number of unacknowledged transmitted APDUs
Note on AU4: Maximum number of unacknowledged received APDUs
Note on AV4: Size of the CauseOfTransmission part of the IEC104 message
Note on AW4: Time to wait for acknowledge to a transmitted APDU
Note on AX4: Time to wait before sending Supervisory APDU
Note on AY4: Idle time before sending TEST APDU
Note on AZ4: Identifies the ADMS master controlling station during sending any commands to the slave (controlled station).
Note on BA4: Use TLS encryption.
Note on BB4: Reference to TLS catalog.

## IEC104_SubRTUs
IEC104 Sub-Remote Unit
SUBRTUIEC104
IDOBJ_NAME | DELETE | RTU_PARENTREMOTE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | IDOBJ_AORGROUP | PSR_LOCATION | EQUIPMENT_CONT |  | RTU_TYPE | RTU_ENABLETIMEOFFSET | RTU_TIMEOFFSETPAST | RTU_TIMEOFFSETFUTURE | RTU_ENABLECMDQUEUEING | RTU_INITIALPOLL | RTU_INITSEQUENCERETRYPERIOD | RTU_WATCHDOGTIMEOUT | REMOTETERMINALUNIT_POLLCYCLE | REMOTETERMINALUNIT_PERIODICPOLL | REMOTETERMINALUNIT_FASTPOLLING | REMOTETERMINALUNIT_FASTTIMEOUT | REMOTETERMINALUNIT_REQTIMEOUT | REMOTETERMINALUNIT_COMMRETRIES | REMOTETERMINALUNIT_SCANAFTERCMD | REMOTETERMINALUNIT_CMDSCANDELAY | REMOTETERMINALUNIT_SCANAFTERUCOS | RTUIEC_ASDU | RTUIEC_PERIODICCLOCKSYNC | RTUIEC_GITIMEOUT | RTUIEC_PERIODICCI | RTUIEC_CITYPE | RTUIEC_CICYCLE | RTUIEC_USEACTTERMONDISCRETEPOINTS | RTUIEC_CLOCKSYNCCYCLE | RTUIEC_USEACTTERMONANALOGPOINTS | RTUIEC_PERIODICTEST | RTUIEC_TESTCYCLE
Remote Unit | Delete | Parent Remote | Remote Unit Alias | Remote Unit Custom ID | Remote Unit AOR Group | Remote Unit Description | Container Name | Container Custom ID | Remote Unit Type | Enable Time Offset | Time Offset Past [s] | Time Offset Future [s] | Enable Signal Command Queuing | Enable Initial Integrity Scan | Initial Sequence Retry Period | Watchdog Timeout [s] | Scan Cycle [s] | Enable Periodic Scan | Fast-Scan Period [s] | Fast-Scan Timeout [s] | Request Timeout [s] | Command Attempts | Scan After Command | Scan Delay [s] | Scan After Uncommanded Change | ASDU Address | Enable Periodic Clock Sync | Scan Request Timeout [s] | Enable Periodic Counters Scan | Counters Interrogation Type | Counters Scan Cycle [s] | Use ActTerm on Discrete Points | Periodic Clock Sync Cycle [s] | Use ActTerm on Analog Points | Enable Periodic Test | Test Cycle [s]
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then Sub Remote Unit shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Link to a higher-level remote unit level (a data concentrator)
Note on D4: Optional string describing an alternate name of the object.
Note on E4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on F4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on G4: Optional human-readable notes regarding physical location or other properties of the resource
Note on H4: The lowest-level container that contains this piece of equipment e.g., substation, bay, feeder.
Note on I4: A project-specific container Id, typically used as an indetifier
Note on J4: Type of remote unit.
Note on K4: Enable time offset functionality.
Note on L4: Lower limit of maximum tolerable time difference between ADMS time and RTU time.
Note on M4: Upper limit of maximum tolerable time difference between ADMS time and RTU time.
Note on N4: Indicates that all pending commands will be executed sequentially, with every new command waiting the previous one to get completed.
Note on O4: Indicates whether initial integrity scan is enabled
Note on P4: Represents delay time before the system retries to perform initial sequence.
Note on Q4: Remote points are marked with stale indicator if their value is not acquired longer than the Watchdog Timeout period.
Note on R4: Periodic scan cycle [s].
Note on S4: Indicates that periodic scan is enabled
Note on T4: Fast-Scan period [s], RTU GI command is issued every period. Must be less or equal to the Fast-Scan timeout.
Note on U4: Determines how long the fast-scan mode is switched on [s].
Note on V4: Maximum time at which the remote responds to a request (such as selection).
Note on W4: Number of attempts of the same command before moving to the next command.
Note on X4: Scan action is performed after each command on the remote unit, following the configured delay.
Note on Y4: Delay in seconds [s] to begin scan after commanded or un-commanded change.
Note on Z4: Scan action is performed after each uncommanded change on the remote unit, following the configured delay.
Note on AA4: IEC104 slave identifier - ASDU address
Note on AB4: Indicates whether periodic clock sync is enabled.
Note on AC4: Timeout for the remote to respond to a scan (general interrogation) request
Note on AD4: Indicates whether periodic scan of counters should be performed.
Note on AE4: IEC counter interrogation type.
Note on AF4: Scanning period [s] for scan (interrogation) of counters
Note on AG4: Indicates using ActTerm to conclude if command on discrete point is successfully issued.
Note on AH4: Periodic cycle for issuing clock sync command.
Note on AI4: Use ActTerm mechanism to conclude if command on analog point is successfully issued.
Note on AJ4: Indicates whether periodic test command is enabled.
Note on AK4: Periodic cycle for issuing test remote command. It is used for checking whether connection with RTU is still active. Utilization of test cycle is dependent on enablePeriodicTest property.

## IEC104_CommLinks
IEC104 Communication Link
COMMLINKIEC104 | [11 empty] | TCPIPLINK
IDOBJ_NAME | DELETE | COMMLINK_RTU | IDOBJ_ALIAS | IDOBJ_CUSTOMID | IDOBJ_AORGROUP | COMMLINK_COMMCOST | COMMLINK_CONNRETRIES | COMMLINK_LATENCYTIMEOUT | COMMLINK_PERIODICCONNECTIVITYTEST | COMMLINK_CONNECTIVITYTESTCYCLE | COMMLINK_MEDIUM | TCPIPLINK_IPADDRESS | TCPIPLINK_PORT | TCPIPLINK_TCPCONNTIMEOUT
Communication Link Name | Delete | Remote Unit | Communication Link Alias | Communication Link Custom ID | Communication Link AOR Group | Cost Factor | Connection Attempts | Link Latency [s] | Periodic Link Connectivity Check | Link Connectivity Check Cycle [s] | Communication Medium | IP Address | Port | TCP Connection Timeout [s]
UTR_GPR_1_Link1__SAT Hughes |  | UTR_GPR_1 | UTR_GPR_1_Link1 | d5516890-dca6-404a-894d-19ddba4a6006 | GPR Trans | 0 | 3 | 2 | FALSE | 3600 | SAT Hughes | 10.7.120.2 | 2404 | 60
Note on A4: This field defines Communication link name of the RTU.
Note on B4: If set to Yes then Communication Link shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Remote unit using this link
Note on D4: Optional string describing an alternate name of the object.
Note on E4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on F4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on G4: Relative cost, in virtual money units, of communication with the remote using this link.
Note on H4: Number of connection attempts prior to reporting an alarm and switching over to the next communication link (if redundant link exists).
Note on I4: Time delay caused by communication network between end devices.
Note on J4: Periodic link connectivity check.
Note on K4: Link connectivity check cycle.
Note on L4: Optional string e.g. indicating physical medium of the communication link.
Note on M4: The remote’s IP address via this link, given as a dotted decimal or as a host name.
Note on N4: TCP port to which to connect.
Note on O4: Timeout to wait for an initial remote response before the TCP/IP connection is declared stale.

## IEC104_DiscreteSignals
Signal Details | [22 empty] | Remote Points
DSIGNAL | [22 empty] | REMOTEPOINT | [12 empty] | CHATTERPROCESSING
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | MEASUREMENT_PSR | IDOBJ_AORGROUP | SIGNAL_DEVICEMAPPING | [7 empty] | DSIGNAL_TYPE | MEASUREMENT_TYPE | MEASUREMENT_PHASE | MEASUREMENT_SIDE | SIGNAL_DIRECTION | SIGNAL_ANNUALSCH | DSIGNAL_MAPPING | DSIGNAL_NORMALVALUE | DSIGNAL_DOMCATALOG | IDOBJ_NAME | DELETE | IDOBJ_CUSTOMID | IDOBJ_ALIAS | REMOTEPOINT_TYPE | REMOTEOUTPUT_CMDTIMEOUT | REMOTEOUTPUT_SBOMODE | DINPUTIEC_DATATYPE¦DOUTPUTIEC_INDATATYPE | DINPUTIEC_INCOORDS¦DOUTPUTIEC_INCOORDS | DOUTPUTIEC_OUTDATATYPE | DOUTPUTIEC_OUTCOORDS | DOUTPUTIEC_QUALIFIERS | DOUTPUTIEC_COMMANDSTATES | CHATTERPROCESSING_ENABLE | CHATTERPROCESSING_NUMBEROFCHANGES | CHATTERPROCESSING_OSCILLATIONPERIOD | CHATTERPROCESSING_SUPPRESSIONPERIOD
Signal Name | Delete | Signal Alias | Signal Custom ID | Remote Unit | Signal AOR Group | Substation | Feeder | Feeder Object | Bank | Bay | Device | Device Mapping | Description | Signal Type | Measurement Type | Phases | Side | Direction | Annual Schedule | Message Mapping | Normal Value | DOM Catalog | Remote Point Name | Delete Remote Point | Remote Point Custom ID | Remote Point Alias | Remote Point Type | Command Timeout [s] | Commanding Mode | Input Data Type | Input Coordinates | Output Data Type | Output Coordinates | Command Qualifiers | Command States | Enable Oscillation Processing | Number of Changes | Oscillation Period [s] | Suppression Period [s]
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes, both signal and remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Physical device or other model resource being measured or controlled
Note on F4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on G4: Substation name used as a reference for signal mapping.
Note on H4: Feeder name used as a reference for signal mapping.
Note on I4: Feeder object name used as a reference for signal mapping.
Note on J4: Bank name used as a reference for signal mapping.
Note on K4: Bay name used as a reference for signal mapping.
Note on L4: Device name used as a reference for signal mapping.
Note on M4: Unique ID of the device to which signal is mapped.
Note on N4: Optional field for additional description (not included in telemetry data import).
Note on O4: Meaning of this signal, e.g. "Tap position" or "Switch status"
Note on P4: Type of the measured quantity, and implied unit (A, kV, kW, Hz...)
Note on Q4: Measured phases, Unknown if not available/applicable
Note on R4: Winding of a transformer, or terminal of a conducting equipment (such as switch) where the measurement is located. Except for transformers, may be left unspecified (none).
Note on S4: Specifies if the value can be commanded (written), measured (read), or both.
Note on T4: A signal value (typically non-SCADA controlled) may be scheduled. Examples include public lights, capacitors, and regulating control settings that vary over time.
Note on U4: Describes properties of each possible discrete signal value.
Note on V4: Normal value of this signal. This value is used to initialize the dynamic model during "cold start" of the ADMS.
Note on W4: Specifies properties of device operations monitoring (DOM) performed on this signal.
Note on X4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on Y4: If set to Yes, remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on Z4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on AA4: Optional string describing an alternate name of the object.
Note on AB4: Specifies the kind of the value being transferred: analog (real), discrete (integer), or rate
Note on AC4: timeout for command failure detection
Note on AD4: Type of select-before-operate mechanism used to command the device.
Note on AE4: Data type of the discrete value as received from the remote unit
Note on AF4: Input point coordinates on the RTU (two in case of combining single-bit remote values into single double-bit point value).
Note on AG4: Data type of the discrete value as sent to the remote unit
Note on AH4: Output coordinate(s) on the RTU (two in case of commanding using two single-bit values).
Note on AI4: Command qualifier, specifying shape of electric impulse sent as command
Note on AJ4: Specifies how a command is issued at every coordinate when the output datatype is Two Single Bits. Ignored in other cases, as the output value is issued to match the expected input value.
Note on AK4: Enable oscillation processing.
Note on AL4: Number of status changes required to detect chattering.
Note on AM4: Maximum time interval required to detect chattering.
Note on AN4: Duration of suppression period. Idle time before oscillation processing is re-applied.

## IEC104_AnalogSignals
Signal Details | [35 empty] | Remote Points
ASIGNAL | [26 empty] | ADVALMLIMITS | [8 empty] | REMOTEPOINT | [18 empty] | APROCESSING
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | MEASUREMENT_PSR | IDOBJ_AORGROUP | SIGNAL_DEVICEMAPPING | [7 empty] | ASIGNAL_TYPE | MEASUREMENT_TYPE | MEASUREMENT_UNIT | MEASUREMENT_PHASE | MEASUREMENT_SIDE | SIGNAL_DIRECTION | SIGNAL_ANNUALSCH | ASIGNAL_FLOWDIRECTION | ASIGNAL_RATEDVALUE | ASIGNAL_MINSETPOINT | ASIGNAL_MAXSETPOINT | ASIGNAL_TRUST | ASIGNAL_ALARMLIMITS | IDOBJ_NAME | ADVALMLIMITS_ROCALARMGROWTH | ADVALMLIMITS_ROCLIMITGROWTH | ADVALMLIMITS_ROCALARMDROP | ADVALMLIMITS_ROCLIMITDROP | ADVALMLIMITS_FLATLINEALARM | ADVALMLIMITS_FLATLINETIMEOUT | ADVALMLIMITS_CREEPALARM | ADVALMLIMITS_CREEPDEADBAND | IDOBJ_NAME | DELETE | IDOBJ_CUSTOMID | IDOBJ_ALIAS | REMOTEPOINT_TYPE | REMOTEPOINT_SCALING | REMOTEPOINT_INTERCEPT | REMOTEPOINT_ADCFAIL | REMOTEOUTPUT_CMDTIMEOUT | REMOTEOUTPUT_SBOMODE | REMOTEOUTPUT_SPTOL | AINPUTIEC_DATATYPE¦AOUTPUTIEC_INDATATYPE | AINPUTIEC_INCOORD¦AOUTPUTIEC_INCOORD¦COUNTERIEC_INCOORD | AOUTPUTIEC_OUTDATATYPE | AOUTPUTIEC_OUTCOORD | COUNTERIEC_RATETYPE | COUNTERIEC_ENABLEROLLOVER | COUNTERIEC_ROLLOVER | COUNTERIEC_RESET | APROCESSING_LOCALDBCHECK | APROCESSING_USERELATIVEDB | APROCESSING_DEADBANDTYPE | APROCESSING_DEADBAND | APROCESSING_ZEROCLAMPINGDB | APROCESSING_LINEARFILTER | APROCESSING_LFFACTOR
Signal Name | Delete | Signal Alias | Signal Custom ID | Remote Unit | Signal AOR Group | Substation | Feeder | Feeder Object | Bank | Bay | Device | Device Mapping | Description | Signal Type | Measurement Type | Display Unit | Phases | Side | Direction | Annual Schedule | Flow Direction | Rated Value | Min. Setpoint | Max. Setpoint | Trust Factor | Alarm Limits | Advanced Alarms - Name | Advanced Alarms - Rate-Of-Growth Alarm | Advanced Alarms - Rate-Of-Growth Limit | Advanced Alarms - Rate-Of-Drop Alarm | Advanced Alarms - Rate-Of-Drop Limit | Advanced Alarm - Flatline Alarm | Advanced Alarm - Flatline Timeout [s] | Advanced Alarm - Creep Alarm | Advanced Alarm - Creep Deadband | Remote Point Name | Delete Remote Point | Remote Point Custom ID | Remote Point Alias | Remote Point Type | Scaling Factor | Intercept | ADC Fail | Command Timeout [s] | Commanding Mode | Setpoint Tolerance | Input Data Type | Input Coordinate | Output Data Type | Output Coordinate | Rate Type | Enable Rollover | Rollover Value | With Reset | Advanced Processing - Local Deadband Check | Advanced Processing - Use Relative Deadband | Deadband Type | Advanced Processing - Deadband | Advanced Processing - Zero Clamping Deadband | Advanced Processing - Apply Linear Filter | Advanced Processing - Linear Filter Factor
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes, both signal and remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Physical device or other model resource being measured or controlled
Note on F4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on G4: Substation name used as a reference for signal mapping.
Note on H4: Feeder name used as a reference for signal mapping.
Note on I4: Feeder object name used as a reference for signal mapping.
Note on J4: Bank name used as a reference for signal mapping.
Note on K4: Bay name used as a reference for signal mapping.
Note on L4: Device name used as a reference for signal mapping.
Note on M4: Unique ID of the device to which signal is mapped.
Note on N4: Optional field for additional description (not included in telemetry data import).
Note on O4: Meaning of this signal, e.g. "Set point" or "Measured value"
Note on P4: Type of the measured quantity, and implied unit (A, kV, kW, Hz...)
Note on Q4: Engineering unit in which the value is displayed to the operator.
Note on R4: Measured phases, Unknown if not available/applicable
Note on S4: Winding of a transformer, or terminal of a conducting equipment (such as switch) where the measurement is located. Except for transformers, may be left unspecified (none).
Note on T4: Specifies if the value can be commanded (written), measured (read), or both.
Note on U4: A signal value (typically non-SCADA controlled) may be scheduled. Examples include public lights, capacitors, and regulating control settings that vary over time.
Note on V4: Specifies the referent direction of the measurement (typically active power). "Forward" means that the positive sign is when the power flows from the 1st terminal to the second, "Reverse" in the opposite direction, while "Undirected" means that the direction is unspecified.
Note on W4: Rated value (expected maximum) of the signal.
Note on X4: Minimum allowed setpoint (commanded value).
Note on Y4: Maximum allowed setpoint (commanded value).
Note on Z4: Value of trust factor for this specific measurement. If -1, the default trust factor for measurements is used; otherwise, that value is overridden.
Note on AA4: Alarm limits applicable to this signal. If absent, no alarms and violations are reported.
Note on AB4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on AC4: Alarm raised when the value grows from the previous reading at a rate higher than the specified.
Note on AD4: Rate of variable growth [unit/second] at which a rate-of-growth alarm is raised.
Note on AE4: Alarm raised when the value drops from the previous reading at a rate higher than the specified.
Note on AF4: The rate of value drop [unit/second] at which a rate-of-change alarm appears.
Note on AG4: A flatline alarm is generated if the value change does not exceed the specified limit within a specified time period (timeout).
Note on AH4: Time period during which the value does not change, and the alarm is raised
Note on AI4: Creep alarm is generated when the value does change for more than the specified amount, compared to the setpoint.
Note on AJ4: Deadband of change after which the creep alarm is raised.
Note on AK4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on AL4: If set to Yes, remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on AM4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on AN4: Optional string describing an alternate name of the object.
Note on AO4: Specifies the kind of the value being transferred: analog (real), discrete (integer), or rate
Note on AP4: Multiplier applied to analog raw value to obtain engineering unit value. (egu = scaling*raw + intercept).
Note on AQ4: Offset added to analog raw value to obtain engineering unit value. (egu = scaling*raw + intercept)
Note on AR4: If true, signal/remote point is included in analog to digital calibration monitoring of RTU.
Note on AS4: timeout for command failure detection
Note on AT4: Type of select-before-operate mechanism used to command the device.
Note on AU4: Allowed tolerance [eng. units] between command and response values, in order to declare the command successful
Note on AV4: Data type of the analog value as received from the remote unit
Note on AW4: Input point coordinate on the RTU
Note on AX4: Data type of the analog value as sent to the remote unit
Note on AY4: Output point coordinate on the RTU
Note on AZ4: IEC type of rate point.
Note on BA4: If true, rollover value of a counter is included when calculating accumulated value.
Note on BB4: Accumulator roll over value.
Note on BC4: Counter is reset with each acquisition cycle.
Note on BD4: Deadband processing is performed on the SCADA side rather than on the RTU. If true, Percent is permitted as deadband type along with Int32, Int16 and Float.
Note on BE4: Indicates that the deadband value is expressed in percent (only possible with local deadband check); otherwise, it is expressed in engineering units.
Note on BF4: Deadband data type.
Note on BG4: Value of the deadband, in percent or engineering units. If non-zero, signal value variations from the last processed value within the deadband are ignored.
Note on BH4: When the value magnitude is below this limit, it is interpreted as zero. Used to compensate low-value DC bias for older devices.
Note on BI4: Linear filter processing is performed.
Note on BJ4: Constant (k) used for value smoothing in linear filter processing.

## IEC104_DiscreteAnalog
Signal Details | [22 empty] | Remote Points
DSIGNAL | [22 empty] | REMOTEPOINT | [18 empty] | APROCESSING
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_CUSTOMID | MEASUREMENT_PSR | IDOBJ_AORGROUP | SIGNAL_DEVICEMAPPING | [7 empty] | DSIGNAL_TYPE | MEASUREMENT_TYPE | MEASUREMENT_PHASE | MEASUREMENT_SIDE | SIGNAL_DIRECTION | SIGNAL_ANNUALSCH | DSIGNAL_MAPPING | DSIGNAL_NORMALVALUE | DSIGNAL_DOMCATALOG | IDOBJ_NAME | DELETE | IDOBJ_CUSTOMID | IDOBJ_ALIAS | REMOTEPOINT_TYPE | REMOTEPOINT_SCALING | REMOTEPOINT_INTERCEPT | REMOTEPOINT_ADCFAIL | REMOTEOUTPUT_CMDTIMEOUT | REMOTEOUTPUT_SBOMODE | REMOTEOUTPUT_SPTOL | AINPUTIEC_DATATYPE¦AOUTPUTIEC_INDATATYPE | AINPUTIEC_INCOORD¦AOUTPUTIEC_INCOORD¦COUNTERIEC_INCOORD | AOUTPUTIEC_OUTDATATYPE | AOUTPUTIEC_OUTCOORD | COUNTERIEC_RATETYPE | COUNTERIEC_ENABLEROLLOVER | COUNTERIEC_ROLLOVER | COUNTERIEC_RESET | APROCESSING_LOCALDBCHECK | APROCESSING_USERELATIVEDB | APROCESSING_DEADBANDTYPE | APROCESSING_DEADBAND | APROCESSING_ZEROCLAMPINGDB | APROCESSING_LINEARFILTER | APROCESSING_LFFACTOR
Signal Name | Delete | Signal Alias | Signal Custom ID | Remote Unit | Signal AOR Group | Substation | Feeder | Feeder Object | Bank | Bay | Device | Device Mapping | Description | Signal Type | Measurement Type | Phases | Side | Direction | Annual Schedule | Message Mapping | Normal Value | DOM Catalog | Remote Point Name | Delete Remote Point | Remote Point Custom ID | Remote Point Alias | Remote Point Type | Scaling Factor | Intercept | ADC Fail | Command Timeout [s] | Commanding Mode | Setpoint Tolerance | Input Data Type | Input Coordinate | Output Data Type | Output Coordinate | Rate Type | Enable Rollover | Rollover Value | With Reset | Advanced Processing - Local Deadband Check | Advanced Processing - Use Relative Deadband | Deadband Type | Advanced Processing - Deadband | Advanced Processing - Zero Clamping Deadband | Advanced Processing - Apply Linear Filter | Advanced Processing - Linear Filter Factor
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes, both signal and remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on E4: Physical device or other model resource being measured or controlled
Note on F4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on G4: Substation name used as a reference for signal mapping.
Note on H4: Feeder name used as a reference for signal mapping.
Note on I4: Feeder object name used as a reference for signal mapping.
Note on J4: Bank name used as a reference for signal mapping.
Note on K4: Bay name used as a reference for signal mapping.
Note on L4: Device name used as a reference for signal mapping.
Note on M4: Unique ID of the device to which signal is mapped.
Note on N4: Optional field for additional description (not included in telemetry data import).
Note on O4: Meaning of this signal, e.g. "Tap position" or "Switch status"
Note on P4: Type of the measured quantity, and implied unit (A, kV, kW, Hz...)
Note on Q4: Measured phases, Unknown if not available/applicable
Note on R4: Winding of a transformer, or terminal of a conducting equipment (such as switch) where the measurement is located. Except for transformers, may be left unspecified (none).
Note on S4: Specifies if the value can be commanded (written), measured (read), or both.
Note on T4: A signal value (typically non-SCADA controlled) may be scheduled. Examples include public lights, capacitors, and regulating control settings that vary over time.
Note on U4: Describes properties of each possible discrete signal value.
Note on V4: Normal value of this signal. This value is used to initialize the dynamic model during "cold start" of the ADMS.
Note on W4: Specifies properties of device operations monitoring (DOM) performed on this signal.
Note on X4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on Y4: If set to Yes, remote point is going to be deleted from SCADA database upon telemetry data import. If set to No or left empty this column has no impact on telemetry data import process.
Note on Z4: A project-specific unique ID, typically used as an identifier in the external data source system.
Note on AA4: Optional string describing an alternate name of the object.
Note on AB4: Specifies the kind of the value being transferred: analog (real), discrete (integer), or rate
Note on AC4: Multiplier applied to analog raw value to obtain engineering unit value. (egu = scaling*raw + intercept).
Note on AD4: Offset added to analog raw value to obtain engineering unit value. (egu = scaling*raw + intercept)
Note on AE4: If true, signal/remote point is included in analog to digital calibration monitoring of RTU.
Note on AF4: timeout for command failure detection
Note on AG4: Type of select-before-operate mechanism used to command the device.
Note on AH4: Allowed tolerance [eng. units] between command and response values, in order to declare the command successful
Note on AI4: Data type of the analog value as received from the remote unit
Note on AJ4: Input point coordinate on the RTU
Note on AK4: Data type of the analog value as sent to the remote unit
Note on AL4: Output point coordinate on the RTU
Note on AM4: IEC type of rate point.
Note on AN4: If true, rollover value of a counter is included when calculating accumulated value.
Note on AO4: Accumulator roll over value.
Note on AP4: Counter is reset with each acquisition cycle.
Note on AQ4: Deadband processing is performed on the SCADA side rather than on the RTU. If true, Percent is permitted as deadband type along with Int32, Int16 and Float.
Note on AR4: Indicates that the deadband value is expressed in percent (only possible with local deadband check); otherwise, it is expressed in engineering units.
Note on AS4: Deadband data type.
Note on AT4: Value of the deadband, in percent or engineering units. If non-zero, signal value variations from the last processed value within the deadband are ignored.
Note on AU4: When the value magnitude is below this limit, it is interpreted as zero. Used to compensate low-value DC bias for older devices.
Note on AV4: Linear filter processing is performed.
Note on AW4: Constant (k) used for value smoothing in linear filter processing.

## CalculationCode
Calculation Code
CALCCODE
IDOBJ_NAME | DELETE | PSR_LOCATION | CALCCODE_SHARED | CALCCODE_ROUTINE
Name | Delete | Description | Shared | Code
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then Calculation Code shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional human-readable notes regarding physical location or other properties of the resource
Note on D4: Specifies that the code can be invoked from other codes as a subroutine (but cannot be used from base calculations).
Note on E4: Body of the calculation to be executed, in valid C# language.

## CalculationParameter
Calculation Parameters
CALCPARAM
IDOBJ_NAME | CALCARG_PARAMTYPE | CALCARG_ISOUTPUT | CALCARG_CALCULATION
Name | Data Type | Output | Calculation
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: Data type of the parameter
Note on C4: Specifies that the value is an output from the calculation, and as such used to generate the signal value
Note on D4: A calculation configuration or calculation code which references this argument.

## Calculations
Calculation
CALCULATION
IDOBJ_NAME | DELETE | IDOBJ_ALIAS | IDOBJ_AORGROUP | EQUIPMENT_CONT |  | CALCULATION_TIMEOUT | CALCULATION_CODE | CALCULATION_SCHEDULE
Name | Delete | Alias | AOR Group | Container Name | Container Custom ID | Execution Timeout [s] | Code Name | Schedule
Note on A4: Free-text human-readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
Note on B4: If set to Yes then Calculation shall be deleted upon import. If set to No or left empty this column has no impact on telemetry data import process.
Note on C4: Optional string describing an alternate name of the object.
Note on D4: An atomic Area of Responsibility (AOR Group) to which this resource belongs
Note on E4: Name of the container where calculation shall reside upon telemetry data import.
Note on F4: Custom ID of the container where calculation shall reside upon telemetry data import.
Note on G4: Allowed time for calculation completion, after which it will be marked as failed (if it did not succeed to execute in this time frame).
Note on H4: A reference to the calculation routine performing the calculation, if the type is Custom.
Note on I4: Reference to a schedule which determines time of calculation execution.

## ConstantCalculationArgument
Calculation Arguments
CALCCONSTARG
CALCARG_CALCULATION | CALCARG_PARAM | CALCCONSTARG_STRING
Calculation | Calculation Parameter | Value
Note on A4: A calculation configuration or calculation code which references this argument.
Note on B4: A name of parametar used in calculation code configuration which coresponnds to the argument.
Note on C4: A value(boolean, float, integer or string) which is a constant input to a calculation.

## SignalCalculationArgument
Signal Calculation Arguments
CALCSIGNALARG
CALCARG_CALCULATION | CALCARG_PARAM | CALCSIGNALARG_SIGNAL | CALCSIGNALARG_INPUTTRIGGER | CALCSIGNALARG_DEADBAND
Calculation | Calculation Parameter | Signal Custom ID | Input Trigger | Deadband
Note on A4: A calculation configuration or calculation code which references this argument.
Note on B4: A name of parametar used in calculation code configuration which coresponnds to the argument.
Note on C4: Unique identifier (Custom ID) of the signal which participates in the calcualtion.
Note on D4: Specifies how the change of an input argument triggers re-calculation
Note on E4: An oscillation of a signal value, inside which a calculation will not be triggered. Settable only if a input change trigger is "Value" or "Both"